## O'Brien 2023
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN O'BRIEN WRP SAMPLES (µg/L, ppb)
LAB ID: 23-088, 23-089 & 23-090 LIMS ID: 9295457-1, 9295464-1, 9295523-1
DATE SAMPLED: February 21, 2023
|  | Reporting |  |  | Waste
|  | Limit |  | Raw | Activated
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #,*,**
|  |  | 9295457-1 | 9295464-1 | 9295523-1
PURGEABLES
1 | Acrolein | 50 | -- | -- | --
2 | Acrylonitrile | 10 | -- | -- | --
3 | Benzene | 2 | -- | -- | --
4 | Bromoform | 5 | -- | -- | --
5 | Carbon tetrachloride | 5 | -- | -- | --
6 | Chlorobenzene | 5 | -- | -- | --
7 | Chlorodibromomethane | 2 | -- | -- | --
8 | Chloroethane | 5 | -- | -- | --
9 | 2-Chloroethylvinyl ether | 5 | -- | -- | --
10 | Chloroform | 2 | -- | -- | --
11 | 1,2-Dichlorobenzene | 5 | -- | -- | --
12 | 1,3-Dichlorobenzene | 5 | -- | -- | --
13 | 1,4-Dichlorobenzene | 5 | -- | -- | --
14 | Dichlorobromomethane | 2 | -- | -- | --
15 | 1,1-Dichloroethane | 5 | -- | -- | --
16 | 1,2-Dichloroethane | 5 | -- | -- | --
17 | 1,1-Dichloroethylene | 5 | -- | -- | --
18 | 1,2-Dichloropropane | 5 | -- | -- | --
19 | 1,3-Dichloropropene | 5 | -- | -- | --
20 | Ethyl benzene | 2 | -- | -- | --
21 | Methyl bromide | 5 | -- | -- | --
22 | Methyl chloride | 5 | -- | -- | --
23 | Methylene chloride | 5 | -- | -- | --
24 | 1,1,2,2-Tetrachloroethane | 5 | -- | -- | --
25 | Tetrachloroethylene | 5 | -- | -- | --
26 | Toluene | 2 | -- | -- | --
27 | 1,2-trans-Dichloroethylene | 5 | -- | -- | --
28 | 1,1,1-Trichloroethane | 5 | -- | -- | --
29 | 1,1,2-Trichloroethane | 5 | -- | -- | --
30 | Trichloroethylene | 5 | -- | -- | --
31 | Trichlorofluoromethane | 5 | -- | -- | --
32 | Vinyl chloride | 5 | -- | -- | --
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | -- | -- | --
2 | 2,4-Dichlorophenol | 5 | -- | -- | --
3 | 2,4-Dimethylphenol | 10 | -- | -- | --
4 | 4,6-Dinitro-o-cresol | 25 | -- | -- | --
5 | 2,4-Dinitrophenol | 40 | -- | -- | --
6 | 2-Nitrophenol | 10 | -- | -- | --
7 | 4-Nitrophenol | 20 | -- | -- | --
8 | p-Chloro-m-cresol | 5 | -- | -- | --
9 | Pentachlorophenol | 30 | -- | -- | --
10 | Phenol | 5 | -- | -- | --
11 | 2,4,6-Trichlorophenol | 10 | -- | -- | --
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | -- | -- | --
2 | Acenaphthylene | 5 | -- | -- | --
3 | Anthracene | 5 | -- | -- | --
4 | Benzidine | 25 | -- | -- | --
5 | Benzo(a)anthracene | 5 | -- | -- | --
6 | Benzo(a)pyrene | 5 | -- | -- | --
7 | 3,4-Benzofluoranthene | 5 | -- | -- | 26.8
8 | Benzo(ghi)perylene | 5 | -- | -- | --
9 | Benzo(k)fluoranthene | 5 | -- | -- | --
10 | Bis(2-chloroethoxy)methane | 10 | -- | -- | --
11 | Bis(2-chloroethyl)ether | 10 | -- | -- | --
12 | Bis(2-chloro-iso-propyl)ether | 10 | -- | -- | --
13 | Bis(2-ethylhexyl)phthalate | 15 | -- | -- | 151
14 | 4-Bromophenyl phenyl ether | 5 | -- | -- | --
15 | Butyl-benzyl phthalate | 10 | -- | -- | --
16 | 2-Chloronaphthalene | 5 | -- | -- | --
17 | 4-Chlorophenyl phenyl ether | 5 | -- | -- | --
18 | Chrysene | 5 | -- | -- | --
19 | Dibenzo(a,h)anthracene | 5 | -- | -- | --
20 | 3,3'-Dichlorobenzidine | 15 | -- | -- | --
21 | Diethyl phthalate | 10 | -- | -- | --
22 | Dimethyl phthalate | 5 | -- | -- | --
23 | Di-n-butyl phthalate | 5 | -- | -- | --
24 | 2,4-Dinitrotoluene | 5 | -- | -- | --
25 | 2,6-Dinitrotoluene | 5 | -- | -- | --
26 | Di-n-octyl phthalate | 10 | -- | -- | --
| 1,2-Diphenylhydrazine | 5 | -- | -- | --
27 | Fluoranthene | 5 | -- | -- | --
28 | Fluorene | 5 | -- | -- | --
29 | Hexachlorobenzene | 5 | -- | -- | --
30 | Hexachlorobutadiene | 5 | -- | -- | --
31 | Hexachlorocyclopentadiene | 30 | -- | -- | --
32 | Hexachloroethane | 10 | -- | -- | --
33 | Indeno(1,2,3-cd)pyrene | 5 | -- | -- | 29.3
34 | Isophorone | 10 | -- | -- | --
35 | Naphthalene | 5 | -- | -- | --
36 | Nitrobenzene | 10 | -- | -- | --
37 | N-Nitrosodimethylamine | 5 | -- | -- | --
38 | N-Nitrosodi-n-propylamine | 10 | -- | -- | --
39 | N-Nitrosodiphenylamine | 5 | -- | -- | --
40 | Phenanthrene | 5 | -- | -- | --
41 | Pyrene | 5 | -- | -- | --
42 | 1,2,4-Trichlorobenzene | 5 | -- | -- | --
PESTICIDES & PCBs
1 | Aldrin | 0.05 | -- | -- | --
2 | a-BHC-alpha | 0.05 | -- | -- | --
3 | b-BHC-beta | 0.07 | -- | -- | --
4 | BHC-gamma | 0.05 | -- | -- | --
5 | BHC-delta | 0.05 | -- | -- | --
6 | Chlordane | 0.5 | -- | -- | --
7 | 4,4'-DDT | 0.05 | -- | -- | --
8 | 4,4'-DDE | 0.05 | -- | -- | --
9 | 4,4'-DDD | 0.05 | -- | -- | --
10 | Dieldrin | 0.05 | -- | -- | --
11 | a-Endosulfan-alpha | 0.05 | -- | -- | --
12 | b-Endosulfan-beta | 0.05 | -- | -- | --
13 | Endosulfan sulfate | 0.05 | -- | -- | --
14 | Endrin | 0.05 | -- | -- | --
15 | Endrin aldehyde | 0.05 | -- | -- | --
16 | Heptachlor | 0.07 | -- | -- | --
17 | Heptachlor epoxide | 0.05 | -- | -- | --
18 | PCB-1242 | 0.8 | -- | -- | --
19 | PCB-1254 | 0.8 | -- | -- | --
20 | PCB-1221 | 0.8 | -- | -- | --
21 | PCB-1232 | 0.8 | -- | -- | --
22 | PCB-1248 | 0.8 | -- | -- | --
23 | PCB-1260 | 0.8 | -- | -- | --
24 | PCB-1016 | 0.8 | -- | -- | --
| (Total PCB) | 0.8 | -- | -- | --
25 | Toxaphene | 1 | -- | -- | --
# Reporting limits for acids and base/neutrals in the sludge sample are 5 times highter than listed, and
for pesticides and PCBs are 20 times higher than listed.
* | The percent solids for sludge is 1.15 %. The unit for sludge is µg/kg, wet weight.
-- | Not found, below reporting limit.
** One BNA surrogate failed criteria due to matrix effects.

## O'Brien 2024
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN O'BRIEN WRP SAMPLES (µg/L, ppb)
LAB ID: 24-078, 24-077 & 24-078 LIMS ID: 9531409-1, 9530204-1, 9531548-1
DATE SAMPLED: February 20, 2024
|  | Reporting |  |  | Waste
|  | Limit |  | Raw | Activated
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #, *, **
Solids% 0.97%, µg/kg, wet weight
|  |  | 9531409 | 9530204 | 9531548-1
PURGEABLES
1 | Acrolein | 50 | <50.000 | <50.000 | <50.000*
2 | Acrylonitrile | 10 | <10.000 | <10.000 | <10.000
3 | Benzene | 2 | <2.000 | <2.000 | <2.000
4 | Bromoform | 5 | <5.000 | <5.000 | <5.000
5 | Carbon tetrachloride | 5 | <5.000 | <5.000 | <5.000
6 | Chlorobenzene | 5 | <5.000 | <5.000 | <5.000
7 | Chlorodibromomethane | 2 | <2.000 | <2.000 | <2.000
8 | Chloroethane | 5 | <5.000 | <5.000 | <5.000
9 | 2-Chloroethylvinyl ether | 5 | <5.000 | <5.000 | <5.000
10 | Chloroform | 2 | <2.000 | 2.1486 | <2.000
11 | 1,2-Dichlorobenzene | 5 | <5.000 | <5.000 | <5.000
12 | 1,3-Dichlorobenzene | 5 | <5.000 | <5.000 | <5.000
13 | 1,4-Dichlorobenzene | 5 | <5.000 | <5.000 | <5.000
14 | Dichlorobromomethane | 2 | <2.000 | <2.000 | <2.000
15 | 1,1-Dichloroethane | 5 | <5.000 | <5.000 | <5.000
16 | 1,2-Dichloroethane | 5 | <5.000 | <5.000 | <5.000
17 | 1,1-Dichloroethylene | 5 | <5.000 | <5.000 | <5.000
18 | 1,2-Dichloropropane | 5 | <5.000 | <5.000 | <5.000
19 | 1,3-Dichloropropene | 5 | <5.000 | <5.000 | <5.000
20 | Ethyl benzene | 2 | <2.000 | <2.000 | <2.000
21 | Methyl bromide | 5 | <5.000 | <5.000 | <5.000
22 | Methyl chloride | 5 | <5.000 | <5.000 | <5.000
23 | Methylene chloride | 5 | <5.000 | <5.000 | <5.000
24 | 1,1,2,2-Tetrachloroethane | 5 | <5.000 | <5.000 | <5.000
25 | Tetrachloroethylene | 5 | <5.000 | <5.000 | <5.000
26 | Toluene | 2 | <2.000 | <2.000 | <2.000
27 | 1,2-trans-Dichloroethylene | 5 | <5.000 | <5.000 | <5.000
28 | 1,1,1-Trichloroethane | 5 | <5.000 | <5.000 | <5.000
29 | 1,1,2-Trichloroethane | 5 | <5.000 | <5.000 | <5.000
30 | Trichloroethylene | 5 | <5.000 | <5.000 | <5.000
31 | Trichlorofluoromethane | 5 | <5.000 | <5.000 | <5.000
32 | Vinyl chloride | 5 | <5.000 | <5.000 | <5.000
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | <10.000 | <10.000 | <50.000
2 | 2,4-Dichlorophenol | 5 | <5.000 | <5.000 | <25.000
3 | 2,4-Dimethylphenol | 10 | <10.000 | <10.000 | <50.000
4 | 4,6-Dinitro-o-cresol | 25 | <25.000 | <25.000 | <125.000
5 | 2,4-Dinitrophenol | 40 | <40.000 | <40.000 | <200.000
6 | 2-Nitrophenol | 10 | <10.000 | <10.000 | <50.000
7 | 4-Nitrophenol | 20 | <20.000 | <20.000 | <100.000
8 | p-Chloro-m-cresol | 5 | <5.000 | <5.000 | <25.000
9 | Pentachlorophenol | 30 | <30.000 | <30.000 | <150.000
10 | Phenol | 5 | <5.000 | 5.6539 | <25.000
11 | 2,4,6-Trichlorophenol | 10 | <10.000 | <10.000 | <50.000
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | <5.000 | <5.000 | <25.000
2 | Acenaphthylene | 5 | <5.000 | <5.000 | <25.000
3 | Anthracene | 5 | <5.000 | <5.000 | <25.000
4 | Benzidine | 25 | <25.000 | <25.000 | <125.000*
5 | Benzo(a)anthracene | 10 | <10.000 | <10.000 | <25.000
6 | Benzo(a)pyrene | 10 | <10.000 | <10.000 | <50.000**
7 | 3,4-Benzofluoranthene | 10 | <10.000 | <10.000 | <50.000**
8 | Benzo(ghi)perylene | 10 | <10.000 | <10.000 | <50.000**
9 | Benzo(k)fluoranthene | 5 | <5.000 | <5.000 | <25.000**
10 | Bis(2-chloroethoxy)methane | 10 | <10.000 | <10.000 | <50.000
11 | Bis(2-chloroethyl)ether | 10 | <10.000 | <10.000 | <50.000
12 | Bis(2-chloro-iso-propyl)ether | 10 | <10.000 | <10.000 | <50.000*
13 | Bis(2-ethylhexyl)phthalate | 20 | <20.000 | <20.000 | 210.7067**
14 | 4-Bromophenyl phenyl ether | 5 | <5.000 | <5.000 | <25.000
15 | Butyl-benzyl phthalate | 10 | <10.000 | <10.000 | <50.000
16 | 2-Chloronaphthalene | 5 | <5.000 | <5.000 | <25.000
17 | 4-Chlorophenyl phenyl ether | 5 | <5.000 | <5.000 | <25.000
18 | Chrysene | 5 | <5.000 | <5.000 | <25.000**
19 | Dibenzo(a,h)anthracene | 15 | <15.000 | <15.000 | <75.000**
20 | 3,3'-Dichlorobenzidine | 15 | <15.000 | <15.000 | <75.000
21 | Diethyl phthalate | 10 | <10.000 | <10.000 | <50.000
22 | Dimethyl phthalate | 5 | <5.000 | <5.000 | <25.000
23 | Di-n-butyl phthalate | 5 | <5.000 | <5.000 | <25.000
24 | 2,4-Dinitrotoluene | 5 | <5.000 | <5.000 | <25.000
25 | 2,6-Dinitrotoluene | 5 | <5.000 | <5.000 | <25.000
26 | Di-n-octyl phthalate | 15 | <15.000 | <15.000 | <75.000**
| 1,2-Diphenylhydrazine | 5 | <5.000 | <5.000 | <25.000
27 | Fluoranthene | 5 | <5.000 | <5.000 | <25.000
28 | Fluorene | 5 | <5.000 | <5.000 | <25.000
29 | Hexachlorobenzene | 5 | <5.000 | <5.000 | <25.000
30 | Hexachlorobutadiene | 5 | <5.000 | <5.000 | <25.000
31 | Hexachlorocyclopentadiene | 30 | <30.000 | <30.000 | <150.000*
32 | Hexachloroethane | 10 | <10.000 | <10.000 | <50.000*
33 | Indeno(1,2,3-cd)pyrene | 15 | <15.000 | <15.000 | <75.000**
34 | Isophorone | 10 | <10.000 | <10.000 | <50.000
35 | Naphthalene | 5 | <5.000 | <5.000 | <25.000
36 | Nitrobenzene | 10 | <10.000 | <10.000 | <50.000
37 | N-Nitrosodimethylamine | 5 | <5.000 | <5.000 | <25.000
38 | N-Nitrosodi-n-propylamine | 10 | <10.000 | <10.000 | <50.000
39 | N-Nitrosodiphenylamine | 5 | <5.000 | <5.000 | <25.000
40 | Phenanthrene | 5 | <5.000 | <5.000 | <25.000
41 | Pyrene | 5 | <5.000 | <5.000 | <25.000
42 | 1,2,4-Trichlorobenzene | 5 | <5.000 | <5.000 | <25.000*
PESTICIDES & PCBs
1 | Aldrin | 0.05 | <0.05 | <0.05 | <1.000
2 | a-BHC-alpha | 0.05 | <0.05 | <0.05 | <1.000
3 | b-BHC-beta | 0.07 | <0.07 | <0.07 | <1.400
4 | BHC-gamma | 0.05 | <0.05 | <0.05 | <1.000
5 | BHC-delta | 0.17 | <0.17 | <0.17 | <3.400
6 | Chlordane | 0.5 | <0.5 | <0.5 | <10.000
7 | 4,4'-DDT | 0.05 | <0.05 | <0.05 | <1.000
8 | 4,4'-DDE | 0.13 | <0.13 | <0.13 | <2.600
9 | 4,4'-DDD | 0.05 | <0.05 | <0.05 | <1.000
10 | Dieldrin | 0.05 | <0.05 | <0.05 | <1.000
11 | a-Endosulfan-alpha | 0.05 | <0.05 | <0.05 | <1.000
12 | b-Endosulfan-beta | 0.05 | <0.05 | <0.05 | <1.000
13 | Endosulfan sulfate | 0.05 | <0.05 | <0.05 | <1.000
14 | Endrin | 0.05 | <0.05 | <0.05 | <1.000
15 | Endrin aldehyde | 0.05 | <0.05 | <0.05 | <1.000
16 | Heptachlor | 0.07 | <0.07 | <0.07 | <1.400
17 | Heptachlor epoxide | 0.05 | <0.05 | <0.05 | <1.000
18 | PCB-1242 | 0.8 | <0.8 | <0.8 | <16.000
19 | PCB-1254 | 0.8 | <0.8 | <0.8 | <16.000
20 | PCB-1221 | 0.8 | <0.8 | <0.8 | <16.000
21 | PCB-1232 | 0.8 | <0.8 | <0.8 | <16.000
22 | PCB-1248 | 0.8 | <0.8 | <0.8 | <16.000
23 | PCB-1260 | 1.16 | <1.16 | <1.16 | <23.200
24 | PCB-1016 | 0.8 | <0.8 | <0.8 | <16.000
| (Total PCB) | 0.8 | <0.8 | <0.8 | <16.000
25 | Toxaphene | 1 | <1.00 | <1.00 | <20.000
# Reporting limits are 5 times higher than listed for acids and base/neutrals and 20 times higher for
pesticides and PCBs.
* | Sample MS/MSD recovery failed, but LCS passed.
* | Due to matrix effects, internal standard failed criteria.

## O'Brien 2025
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN O'BRIEN WRP SAMPLES (µg/L, ppb)
DATE SAMPLED: February 19, 2025
|  |  | Reporting |  |  | Waste
|  |  | Limit |  | Raw | Activated
|  | Compound | µg/L (ppb) | Effluent | Sewage | Sludge #
Solids% 0.78%, µg/kg, wet weight
|  |  |  | 25-103 | 25-104 | 25-105
|  |  |  | 9747486-1 | 9747488-1 | 9747491-1
PURGEABLES
1 |  | Acrolein | 50 | <50.0 | <50.0 | <50.0***
2 |  | Acrylonitrile | 10 | <10.0 | <10.0 | <10.0
3 |  | Benzene | 2 | <2.00 | <2.00 | <2.00
4 |  | Bromoform | 5 | <5.00 | <5.00 | <5.00
5 |  | Carbon tetrachloride | 5 | <5.00 | <5.00 | <5.00
6 |  | Chlorobenzene | 5 | <5.00 | <5.00 | <5.00
7 |  | Chlorodibromomethane | 2 | <2.00 | <2.00 | <2.00
8 |  | Chloroethane | 5 | <5.00 | <5.00 | <5.00
9 |  | 2-Chloroethylvinyl ether | 5 | <5.00 | <5.00 | <5.00
10 |  | Chloroform | 2 | <5.00 | <2.00 | <2.00
11 |  | 1,2-Dichlorobenzene | 5 | <5.00 | <5.00 | <5.00
12 |  | 1,3-Dichlorobenzene | 5 | <5.00 | <5.00 | <5.00
13 |  | 1,4-Dichlorobenzene | 5 | <5.00 | <5.00 | <5.00
14 |  | Dichlorobromomethane | 2 | <5.00 | <2.00 | <2.00
15 |  | 1,1-Dichloroethane | 5 | <5.00 | <5.00 | <5.00
16 |  | 1,2-Dichloroethane | 5 | <5.00 | <5.00 | <5.00
17 |  | 1,1-Dichloroethylene | 5 | <5.00 | <5.00 | <5.00
18 |  | 1,2-Dichloropropane | 5 | <5.01 | <5.00 | <5.00
19 |  | 1,3-Dichloropropene | 5 | <5.01 | <5.00 | <5.00
20 |  | Ethyl benzene | 2 | <5.01 | <2.00 | <2.00
21 |  | Methyl bromide | 5 | <5.01 | <5.00 | <5.00
22 |  | Methyl chloride | 5 | <5.01 | <5.00 | <5.00
23 |  | Methylene chloride | 5 | <5.02 | <5.00 | <5.00
24 |  | 1,1,2,2-Tetrachloroethane | 5 | <5.02 | <5.00 | <5.00
25 |  | Tetrachloroethylene | 5 | <5.02 | <5.00 | <5.00
26 |  | Toluene | 2 | <5.02 | <2.00 | <2.00
27 |  | 1,2-trans-Dichloroethylene | 5 | <5.02 | <5.00 | <5.00
28 |  | 1,1,1-Trichloroethane | 5 | <5.02 | <5.00 | <5.00
29 |  | 1,1,2-Trichloroethane | 5 | <5.02 | <5.00 | <5.00
30 |  | Trichloroethylene | 5 | <5.02 | <5.00 | <5.00
31 |  | Trichlorofluoromethane | 5 | <5.02 | <5.00 | <5.00
32 |  | Vinyl chloride | 5 | <5.02 | <5.00 | <5.00
ACID EXTRACTABLES
1 |  | 2-Chlorophenol | 10 | <10.0 | <10.0 | <50.0
2 |  | 2,4-Dichlorophenol | 5 | <5.00 | <5.00 | <25.0
3 |  | 2,4-Dimethylphenol | 10 | <10.0 | <10.0 | <50.0
4 |  | 4,6-Dinitro-o-cresol | 25 | <25.0 | <25.0 | <125
5 |  | 2,4-Dinitrophenol | 40 | <40.0 | <40.0 | <200.
6 |  | 2-Nitrophenol | 10 | <10.0 | <10.0 | <50.0
7 |  | 4-Nitrophenol | 20 | <20.0 | <20.0 | <100.
8 |  | p-Chloro-m-cresol | 5 | <5.00 | <5.00 | <25.0
9 |  | Pentachlorophenol | 30 | <30.0 | <30.0 | <150.
10 |  | Phenol | 5 | <5.00 | 5.73 | <25.0
11 |  | 2,4,6-Trichlorophenol | 10 | <10.0 | <10.0 | <50.0
BASE/NEUTRAL EXTRACTABLES
1 |  | Acenaphthene | 5 | <5.00 | <5.00 | <25.0
2 |  | Acenaphthylene | 5 | <5.00 | <5.00 | <25.0
3 |  | Anthracene | 5 | <5.00 | <5.00 | <25.0
4 |  | Benzidine | 25 | <25.0 | <25.0 | <125
5 |  | Benzo(a)anthracene | 10 | <10.0 | <10.0 | <50.0*
6 |  | Benzo(a)pyrene | 10 | <10.0 | <10.0 | <50.0*
7 |  | 3,4-Benzofluoranthene | 10 | <10.0 | <10.0 | <50.0*
8 |  | Benzo(ghi)perylene | 10 | <10.0 | <10.0 | <50.0*
9 |  | Benzo(k)fluoranthene | 5 | <5.00 | <5.00 | <25.0*
10 |  | Bis(2-chloroethoxy)methane | 10 | <10.0 | <10.0 | <50.0
11 |  | Bis(2-chloroethyl)ether | 10 | <10.0 | <10.0 | <50.0
12 |  | Bis(2-chloro-iso-propyl)ether | 10 | <10.0 | <10.0 | <50.0
13 |  | Bis(2-ethylhexyl)phthalate | 18 | <20.0 | <20.0 | 125*
14 |  | 4-Bromophenyl phenyl ether | 5 | <5.00 | <5.00 | <25.0
15 |  | Butyl-benzyl phthalate | 10 | <10.0 | <10.0 | <50.0*
16 |  | 2-Chloronaphthalene | 5 | <5.00 | <5.00 | <25.0
17 |  | 4-Chlorophenyl phenyl ether | 5 | <5.00 | <5.00 | <25.0
18 |  | Chrysene | 5 | <5.00 | <5.00 | <25.0*
19 |  | Dibenzo(a,h)anthracene | 15 | <15.0 | <15.0 | <75.0*
20 |  | 3,3'-Dichlorobenzidine | 15 | <15.0 | <15.0 | <75.0
21 |  | Diethyl phthalate | 10 | <10.0 | <10.0 | <50.0
22 |  | Dimethyl phthalate | 5 | <5.00 | <5.00 | <25.0
23 |  | Di-n-butyl phthalate | 10 | <10.0 | <10.0 | <50.0
24 |  | 2,4-Dinitrotoluene | 10 | <5.00 | <5.00 | <25.0
25 |  | 2,6-Dinitrotoluene | 5 | <5.00 | <5.00 | <25.0
26 |  | Di-n-octyl phthalate | 15 | <15.0 | <15.0 | <75.0*
|  | 1,2-Diphenylhydrazine | 5 | <5.00 | <5.00 | <25.0
27 |  | Fluoranthene | 5 | <5.00 | <5.00 | <25.0
28 |  | Fluorene | 5 | <5.00 | <5.00 | <25.0
29 |  | Hexachlorobenzene | 5 | <5.00 | <5.00 | <25.0
30 |  | Hexachlorobutadiene | 5 | <5.00 | <5.00 | <25.0
31 |  | Hexachlorocyclopentadiene | 25 | <25.0 | <25.0 | <125
32 |  | Hexachloroethane | 10 | <10.0 | <10.0** | <50.0
33 |  | Indeno(1,2,3-cd)pyrene | 15 | <15.0 | <15.0 | <75.0*
34 |  | Isophorone | 10 | <10.0 | <10.0 | <50.0
35 |  | Naphthalene | 5 | <5.00 | <5.00 | <25.0
36 |  | Nitrobenzene | 10 | <10.0 | <10.0 | <50.0
37 |  | N-Nitrosodimethylamine | 5 | <5.00 | <5.00 | <25.0
38 |  | N-Nitrosodi-n-propylamine | 10 | <10.0 | <10.0 | <50.0
39 |  | N-Nitrosodiphenylamine | 5 | <5.00 | <5.00 | <25.0
40 |  | Phenanthrene | 5 | <5.00 | <5.00 | <25.0
41 |  | Pyrene | 5 | <5.00 | <5.00 | <25.0
42 |  | 1,2,4-Trichlorobenzene | 5 | <5.00 | <5.00 | <25.0
PESTICIDES & PCBs
1 |  | Aldrin | 0.05 | <0.0500 | <0.0500 | <1.00
2 |  | a-BHC-alpha | 0.05 | <0.0500 | <0.0500 | <1.00
3 |  | b-BHC-beta | 0.07 | <0.0700 | <0.0700 | <1.40
4 |  | BHC-gamma | 0.05 | <0.0500 | <0.0500 | <1.00
5 |  | BHC-delta | 0.05 | <0.0500 | <0.0500 | <1.00
6 |  | Chlordane | 0.5 | <0.500 | <0.500 | <10.0
7 |  | 4,4'-DDT | 0.05 | <0.0500 | <0.0500 | <1.00
8 |  | 4,4'-DDE | 0.13 | <0.130 | <0.130 | <2.60
9 |  | 4,4'-DDD | 0.05 | <0.0500 | <0.0500 | <1.00
10 |  | Dieldrin | 0.05 | <0.0500 | <0.0500 | <1.00
11 |  | a-Endosulfan-alpha | 0.05 | <0.0500 | <0.0500 | <1.00
12 |  | b-Endosulfan-beta | 0.05 | <0.0500 | <0.0500 | <1.00
13 |  | Endosulfan sulfate | 0.05 | <0.0500 | <0.0500 | <1.00
14 |  | Endrin | 0.05 | <0.0500 | <0.0500 | <1.00
15 |  | Endrin aldehyde | 0.05 | <0.0500 | <0.0500 | <1.00
16 |  | Heptachlor | 0.07 | <0.0700 | <0.0700 | <1.40
17 |  | Heptachlor epoxide | 0.05 | <0.0500 | <0.0500 | <1.00
18 |  | PCB-1242 | 0.8 | <0.800 | <0.800 | <16.0
19 |  | PCB-1254 | 0.8 | <0.800 | <0.800 | <16.0
20 |  | PCB-1221 | 0.8 | <0.800 | <0.800 | <16.0
21 |  | PCB-1232 | 0.8 | <0.800 | <0.800 | <16.0
22 |  | PCB-1248 | 0.8 | <0.800 | <0.800 | <16.0
23 |  | PCB-1260 | 1.16 | <1.16 | <1.16 | <23.2
24 |  | PCB-1016 | 0.8 | <0.800 | <0.800 | <16.0
|  | (Total PCB) | 0.8 | <0.800 | <0.800 | <16.0
25 |  | Toxaphene | 1 | <1.00 | <1.00 | <20.0
# Reporting limits are 5 times higher than listed for acids and base/neutrals and 20 times higher for
pesticides and PCBs.
* |  | Confirmed matrix effecst on Internal Standard failure after maintenance.
** |  | Sample MS recovery failed but LCS passed.
*** |  | Sample MSD and RPD recovery failed but LCS passed.

## O'Brien 2026
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN O'BRIEN WRP SAMPLES (µg/L, ppb)
DATE SAMPLED: 1/26/26
Reporting
|  | Limit |  | Raw | Return
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge
Solids% 1.18% µg/kg, wet weight #
|  |  | 26-037 | 26-038 | 26-039
|  |  | 9960485 | 9960486 | 9960487
PURGEABLES
1 | Acrolein | 50 | <50.0 | <50.0 | <50.0
2 | Acrylonitrile | 10 | <10.0 | <10.0 | <10.0
3 | Benzene | 2 | <2.00 | <2.00 | <2.00
4 | Bromoform | 5 | <5.00 | <5.00 | <5.00
5 | Carbon tetrachloride | 5 | <5.00 | <5.00 | <5.00
6 | Chlorobenzene | 5 | <5.00 | <5.00 | <5.00
7 | Chlorodibromomethane | 2 | <2.00 | <2.00 | <2.00
8 | Chloroethane | 5 | <5.00 | <5.00 | <5.00
9 | 2-Chloroethylvinyl ether | 5 | <5.00 | <5.00 | <5.00
10 | Chloroform | 2 | <2.00 | <2.00 | <2.00
11 | 1,2-Dichlorobenzene | 5 | <5.00 | <5.00 | <5.00
12 | 1,3-Dichlorobenzene | 5 | <5.00 | <5.00 | <5.00
13 | 1,4-Dichlorobenzene | 5 | <5.00 | <5.00 | <5.00
14 | Dichlorobromomethane | 2 | <2.00 | <2.00 | <2.00
15 | 1,1-Dichloroethane | 5 | <5.00 | <5.00 | <5.00
16 | 1,2-Dichloroethane | 5 | <5.00 | <5.00 | <5.00
17 | 1,1-Dichloroethylene | 5 | <5.00 | <5.00 | <5.00
18 | 1,2-Dichloropropane | 5 | <5.00 | <5.00 | <5.00
19 | 1,3-Dichloropropene | 5 | <5.00 | <5.00 | <5.00
20 | Ethyl benzene | 2 | <2.00 | <2.00 | <2.00
21 | Methyl bromide | 5 | <5.00 | <5.00 | <5.00
22 | Methyl chloride | 5 | <5.00 | <5.00 | <5.00
23 | Methylene chloride | 5 | <5.00 | <5.00 | <5.00
24 | 1,1,2,2-Tetrachloroethane | 5 | <5.00 | <5.00 | <5.00
25 | Tetrachloroethylene | 5 | <5.00 | <5.00 | <5.00
26 | Toluene | 2 | <2.00 | <2.00 | <2.00
27 | 1,2-trans-Dichloroethylene | 5 | <5.00 | <5.00 | <5.00
28 | 1,1,1-Trichloroethane | 5 | <5.00 | <5.00 | <5.00
29 | 1,1,2-Trichloroethane | 5 | <5.00 | <5.00 | <5.00
30 | Trichloroethylene | 5 | <5.00 | <5.00 | <5.00
31 | Trichlorofluoromethane | 5 | <5.00 | <5.00 | <5.00
32 | Vinyl chloride | 5 | <5.00 | <5.00 | <5.00
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | <10.0 | <10.0 | <50.0
2 | 2,4-Dichlorophenol | 5 | <5.00 | <5.00 | <25.0
3 | 2,4-Dimethylphenol | 10 | <10.0 | <10.0 | <50.0
4 | 4,6-Dinitro-o-cresol | 25 | <25.0 | <25.0 | <125
5 | 2,4-Dinitrophenol | 40 | <40.0 | <40.0 | <200
6 | 2-Nitrophenol | 10 | <10.0 | <10.0 | <50.0
7 | 4-Nitrophenol | 20 | <20.0 | <20.0 | <100
8 | p-Chloro-m-cresol | 5 | <5.00 | <5.00 | <25.0
9 | Pentachlorophenol | 30 | <30.0 | <30.0 | <150
10 | Phenol | 5 | <5.00 | <5.00 | <25.0
11 | 2,4,6-Trichlorophenol | 10 | <10.0 | <10.0 | <50.0
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | <5.00 | <5.00 | <25.0
2 | Acenaphthylene | 5 | <5.00 | <5.00 | <25.0
3 | Anthracene | 5 | <5.00 | <5.00 | <25.0
4 | Benzidine | 25 | <25.0 | <25.0 | <125
5 | Benzo(a)anthracene | 5 | <5.00 | <5.00 | <25.0 +++
6 | Benzo(a)pyrene | 10 | <10.0 | <10.0 | <50.0 +++
7 | 3,4-Benzofluoranthene | 10 | <10.0 | <10.0 | <50.0 +++
8 | Benzo(ghi)perylene | 10 | <10.0 | <10.0 | <50.0 +++
9 | Benzo(k)fluoranthene | 10 | <10.0 | <10.0 | <50.0 +++
10 | Bis(2-chloroethoxy)methane | 10 | <10.0 | <10.0 | <50.0
11 | Bis(2-chloroethyl)ether | 10 | <10.0 | <10.0 | <50.0
12 | Bis(2-chloro-iso-propyl)ether | 10 | <10.0 | <10.0 | <50.0
13 | Bis(2-ethylhexyl)phthalate | 12 | <12.0 | <12.0 | 231 +++
14 | 4-Bromophenyl phenyl ether | 5 | <5.00 | <5.00 | <25.0
15 | Butyl-benzyl phthalate | 10 | <10.0 | <10.0 | <50.0 +++
16 | 2-Chloronaphthalene | 5 | <5.00 | <5.00 | <25.0
17 | 4-Chlorophenyl phenyl ether | 5 | <5.00 | <5.00 | <25.0
18 | Chrysene | 5 | <5.00 | <5.00 | <25.0 +++
19 | Dibenzo(a,h)anthracene | 15 | <15.0 | <15.0 | <75.0 +++
20 | 3,3'-Dichlorobenzidine | 15 | <15.0 | <15.0 | <75.0 +++
21 | Diethyl phthalate | 10 | <10.0 | <10.0 | <50.0
22 | Dimethyl phthalate | 10 | <10.0 | <10.0 | <25.0
23 | Di-n-butyl phthalate | 12 | <12.0 | <12.0 | <60.0
24 | 2,4-Dinitrotoluene | 10 | <10.0 | <10.0 | <50.0
25 | 2,6-Dinitrotoluene | 5 | <5.00 | <5.00 | <25.0
26 | Di-n-octyl phthalate | 10 | <10.0 | <10.0 | <50.0 +++
27 | 1,2-Diphenylhydrazine | 5 | <5.00 | <5.00 | <25.0
28 | Fluoranthene | 5 | <5.00 | <5.00 | <25.0
29 | Fluorene | 5 | <5.00 | <5.00 | <25.0
30 | Hexachlorobenzene | 5 | <5.00 | <5.00 | <25.0
31 | Hexachlorobutadiene | 6 | <6.00 | <6.00 | <30.0
32 | Hexachlorocyclopentadiene | 25 | <25.0 | <25.0 | <125
33 | Hexachloroethane | 10 | <10.0 | <10.0 | <50.0
34 | Indeno(1,2,3-cd)pyrene | 15 | <15.0 | <15.0 | <75.0 +++
35 | Isophorone | 10 | <10.0 | <10.0 | <50.0
36 | Naphthalene | 5 | <5.00 | <5.00 | <25.0
37 | Nitrobenzene | 10 | <10.0 | <10.0 | <50.0
38 | N-Nitrosodimethylamine | 5 | <5.00 | <5.00 | <25.0
39 | N-Nitrosodi-n-propylamine | 10 | <10.0 | <10.0 | <50.0
40 | N-Nitrosodiphenylamine | 6 | <6.00 | <6.00 | <30.0
41 | Phenanthrene | 5 | <5.00 | <5.00 | <25.0
42 | Pyrene | 5 | <5.00 | <5.00 | <25.0
43 | 1,2,4-Trichlorobenzene | 5 | <5.00 | <5.00 | <25.0
PESTICIDES & PCBs
1 | Aldrin | 0.05 | <0.0500 | <0.0500 | <1.00
2 | a-BHC-alpha | 0.05 | <0.0500 | <0.0500 | <1.00
3 | b-BHC-beta | 0.07 | <0.0700 | <0.0700 | <1.40
4 | BHC-gamma | 0.05 | <0.0500 | <0.0500 | <1.00
5 | BHC-delta | 0.05 | <0.0500 | <0.0500 | <1.00
6 | Chlordane | 0.5 | <0.500 | <0.500 | <10.0
7 | 4,4'-DDT | 0.05 | <0.0500 | <0.0500 | <1.00
8 | 4,4'-DDE | 0.1 | <0.100 | <0.100 | <2.00
9 | 4,4'-DDD | 0.05 | <0.0500 | <0.0500 | <1.00
10 | Dieldrin | 0.15 | <0.150 | <0.150 | <3.00
11 | a-Endosulfan-alpha | 0.05 | <0.0500 | <0.0500 | <1.00
12 | b-Endosulfan-beta | 0.05 | <0.0500 | <0.0500 | <1.00
13 | Endosulfan sulfate | 0.05 | <0.0500 | <0.0500 | <1.00
14 | Endrin | 0.05 | <0.0500 | <0.0500 | <1.00
15 | Endrin aldehyde | 0.05 | <0.0500 | <0.0500 | <1.00
16 | Heptachlor | 0.07 | <0.0700 | <0.0700 | <1.40
17 | Heptachlor epoxide | 0.05 | <0.0500 | <0.0500 | <1.00
18 | PCB-1242 | 0.8 | <0.800 | <0.800 | <16.0
19 | PCB-1254 | 0.8 | <0.800 | <0.800 | <16.0
20 | PCB-1221 | 0.8 | <0.800 | <0.800 | <16.0
21 | PCB-1232 | 0.8 | <0.800 | <0.800 | <16.0
22 | PCB-1248 | 0.8 | <0.800 | <0.800 | <16.0
23 | PCB-1260 | 1.16 | <1.16 | <1.16 | <23.2
24 | PCB-1016 | 0.8 | <0.800 | <0.800 | <16.0
| (Total PCB) | 0.8 | <0.800 | <0.800 | <16.0
25 | Toxaphene | 1 | <1.00 | <1.00 | <20.0
# Reporting limits are 5 times higher than listed for base/neutrals/acids, and 20 times higher for pesticides/PCBs.
+++ Confirmed matrix effects on I.S. failure after maintenance