## Egan 2023
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN JOHN E. EGAN WRP SAMPLES (µg/L, ppb)
LAB ID: 23-096, 23-097 & 23-098 LIMS ID: 9295470-1, 9295471-1, 9295551-1
DATE SAMPLED: February 28, 2023
|  | Reporting |  |  | Digester
|  | Limit |  | Raw | Draw
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #,*
|  |  | 9295470-1 | 9295471-1 | 9295551-1
PURGEABLES
1 | Acrolein | 50 | -- | -- | --
2 | Acrylonitrile | 10 | -- | -- | --
3 | Benzene | 2 | -- | -- | --
4 | Bromoform | 5 | -- | -- | --
5 | Carbon tetrachloride | 5 | -- | -- | --
6 | Chlorobenzene | 5 | -- | -- | --
7 | Chlorodibromomethane | 2 | -- | -- | --
8 | Chloroethane | 5 | -- | -- | --
9 | 2-Chloroethylvinyl ether | 5 | -- | -- | --
10 | Chloroform | 2 | -- | -- | --
11 | 1,2-Dichlorobenzene | 5 | -- | -- | --
12 | 1,3-Dichlorobenzene | 5 | -- | -- | --
13 | 1,4-Dichlorobenzene | 5 | -- | -- | --
14 | Dichlorobromomethane | 2 | -- | -- | --
15 | 1,1-Dichloroethane | 5 | -- | -- | --
16 | 1,2-Dichloroethane | 5 | -- | -- | --
17 | 1,1-Dichloroethylene | 5 | -- | -- | --
18 | 1,2-Dichloropropane | 5 | -- | -- | --
19 | 1,3-Dichloropropene | 5 | -- | -- | --
20 | Ethyl benzene | 2 | -- | -- | --
21 | Methyl bromide | 5 | -- | -- | --
22 | Methyl chloride | 5 | -- | -- | --
23 | Methylene chloride | 5 | -- | -- | --
24 | 1,1,2,2-Tetrachloroethane | 5 | -- | -- | --
25 | Tetrachloroethylene | 5 | -- | -- | --
26 | Toluene | 2 | -- | 2.7 | 11.5
27 | 1,2-trans-Dichloroethylene | 5 | -- | -- | --
28 | 1,1,1-Trichloroethane | 5 | -- | -- | --
29 | 1,1,2-Trichloroethane | 5 | -- | -- | --
30 | Trichloroethylene | 5 | -- | -- | --
31 | Trichlorofluoromethane | 5 | -- | -- | --
32 | Vinyl chloride | 5 | -- | -- | --
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | -- | -- | --
2 | 2,4-Dichlorophenol | 5 | -- | -- | --
3 | 2,4-Dimethylphenol | 10 | -- | -- | --
4 | 4,6-Dinitro-o-cresol | 25 | -- | -- | --
5 | 2,4-Dinitrophenol | 40 | -- | -- | --
6 | 2-Nitrophenol | 10 | -- | -- | --
7 | 4-Nitrophenol | 20 | -- | -- | --
8 | p-Chloro-m-cresol | 5 | -- | -- | --
9 | Pentachlorophenol | 30 | -- | -- | --
10 | Phenol | 5 | -- | -- | --
11 | 2,4,6-Trichlorophenol | 10 | -- | -- | --
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | -- | -- | --
2 | Acenaphthylene | 5 | -- | -- | --
3 | Anthracene | 5 | -- | -- | --
4 | Benzidine | 25 | -- | -- | --
5 | Benzo(a)anthracene | 5 | -- | -- | --
6 | Benzo(a)pyrene | 5 | -- | -- | --
7 | 3,4-Benzofluoranthene | 5 | -- | -- | 104
8 | Benzo(ghi)perylene | 5 | -- | -- | --
9 | Benzo(k)fluoranthene | 5 | -- | -- | --
10 | Bis(2-chloroethoxy)methane | 10 | -- | -- | --
11 | Bis(2-chloroethyl)ether | 10 | -- | -- | --
12 | Bis(2-chloro-iso-propyl)ether | 10 | -- | -- | --
13 | Bis(2-ethylhexyl)phthalate | 15 | -- | -- | 639
14 | 4-Bromophenyl phenyl ether | 5 | -- | -- | --
15 | Butyl-benzyl phthalate | 10 | -- | -- | --
16 | 2-Chloronaphthalene | 5 | -- | -- | --
17 | 4-Chlorophenyl phenyl ether | 5 | -- | -- | --
18 | Chrysene | 5 | -- | -- | --
19 | Dibenzo(a,h)anthracene | 5 | -- | -- | --
20 | 3,3'-Dichlorobenzidine | 15 | -- | -- | --
21 | Diethyl phthalate | 10 | -- | -- | --
22 | Dimethyl phthalate | 5 | -- | -- | --
23 | Di-n-butyl phthalate | 5 | -- | -- | --
24 | 2,4-Dinitrotoluene | 5 | -- | -- | --
25 | 2,6-Dinitrotoluene | 5 | -- | -- | --
26 | Di-n-octyl phthalate | 10 | -- | -- | --
27 | 1,2-Diphenylhydrazine | 5 | -- | -- | --
28 | Fluoranthene | 5 | -- | -- | --
29 | Fluorene | 5 | -- | -- | --
30 | Hexachlorobenzene | 5 | -- | -- | --
31 | Hexachlorobutadiene | 5 | -- | -- | --
32 | Hexachlorocyclopentadiene | 30 | -- | -- | --
33 | Hexachloroethane | 10 | -- | -- | --
34 | Indeno(1,2,3-cd)pyrene | 5 | -- | -- | 116
35 | Isophorone | 10 | -- | -- | --
36 | Naphthalene | 5 | -- | -- | --
37 | Nitrobenzene | 10 | -- | -- | --
38 | N-Nitrosodimethylamine | 5 | -- | -- | --
39 | N-Nitrosodi-n-propylamine | 10 | -- | -- | --
40 | N-Nitrosodiphenylamine | 5 | -- | -- | --
41 | Phenanthrene | 5 | -- | -- | --
42 | Pyrene | 5 | -- | -- | --
43 | 1,2,4-Trichlorobenzene | 5 | -- | -- | --
PESTICIDES & PCBs
1 | Aldrin | 0.05 | -- | -- | --
2 | a-BHC-alpha | 0.05 | -- | -- | --
3 | b-BHC-beta | 0.07 | -- | --** | --
4 | BHC-gamma | 0.05 | -- | -- | --
5 | BHC-delta | 0.05 | -- | -- | --
6 | Chlordane | 0.5 | -- | -- | --
7 | 4,4'-DDT | 0.05 | -- | -- | --
8 | 4,4'-DDE | 0.05 | -- | -- | --
9 | 4,4'-DDD | 0.05 | -- | -- | --
10 | Dieldrin | 0.05 | -- | -- | --
11 | a-Endosulfan-alpha | 0.05 | -- | -- | --
12 | b-Endosulfan-beta | 0.05 | -- | -- | --
13 | Endosulfan sulfate | 0.05 | -- | -- | --
14 | Endrin | 0.05 | -- | -- | --
15 | Endrin aldehyde | 0.05 | -- | -- | --
16 | Heptachlor | 0.07 | -- | -- | --
17 | Heptachlor epoxide | 0.05 | -- | -- | --
18 | PCB-1242 | 0.8 | -- | -- | --
19 | PCB-1254 | 0.8 | -- | -- | --
20 | PCB-1221 | 0.8 | -- | -- | --
21 | PCB-1232 | 0.8 | -- | -- | --
22 | PCB-1248 | 0.8 | -- | -- | --
23 | PCB-1260 | 0.8 | -- | -- | --
24 | PCB-1016 | 0.8 | -- | -- | --
| (Total PCB) | 0.8 | -- | -- | --
25 | Toxaphene | 1 | -- | -- | --
# Reporting limits are 5 times higher than listed for purgeables, 20 times higher for acids and base/neutrals
and 50 times highter for pesticides and PCBs.
* | The percent solids for sludge is 1.96 %. The unit for sludge is µg/kg, wet weight.
** | Spike recovery of MS/MSD failed criteria but LCS passed.
-- | Not found, below reporting limit.

## Egan 2024
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN JOHN E. EGAN WRP SAMPLES (µg/L, ppb)
LAB ID: 24-086, 24-085 & 24-084 LIMS ID: 9531411-1, 9530211-1, 9531550-1
DATE SAMPLED: February 27, 2024
|  | Reporting |  |  | Digester
|  | Limit |  | Raw | Draw
| Compound | µg/L (ppb) | Effluent | Sewage* | Sludge #,*
Solids% 2.05%, µg/kg, wet weight
|  |  | 9531411-1 | 9530211-1* | 9531550-1
PURGEABLES
1 | Acrolein | 50 | <50.000 | <50.000 | <250.00*
2 | Acrylonitrile | 10 | <10.000 | <10.000 | <50.000
3 | Benzene | 2 | <2.000 | <2.000 | <10.000
4 | Bromoform | 5 | <5.000 | <5.000 | <25.000
5 | Carbon tetrachloride | 5 | <5.000 | <5.000 | <25.000
6 | Chlorobenzene | 5 | <5.000 | <5.000 | <25.000
7 | Chlorodibromomethane | 2 | <2.000 | <2.000 | <10.000
8 | Chloroethane | 5 | <5.000 | <5.000 | <25.000
9 | 2-Chloroethylvinyl ether | 5 | <5.000 | <5.000 | <25.000
10 | Chloroform | 2 | <2.000 | 2.051 | <10.000
11 | 1,2-Dichlorobenzene | 5 | <5.000 | <5.000 | <25.000
12 | 1,3-Dichlorobenzene | 5 | <5.000 | <5.000 | <25.000
13 | 1,4-Dichlorobenzene | 5 | <5.000 | <5.000 | <25.000
14 | Dichlorobromomethane | 2 | <2.000 | <2.000 | <10.000
15 | 1,1-Dichloroethane | 5 | <5.000 | <5.000 | <25.000
16 | 1,2-Dichloroethane | 5 | <5.000 | <5.000 | <25.000
17 | 1,1-Dichloroethylene | 5 | <5.000 | <5.000 | <25.000
18 | 1,2-Dichloropropane | 5 | <5.000 | <5.000 | <25.000
19 | 1,3-Dichloropropene | 5 | <5.000 | <5.000 | <25.000
20 | Ethyl benzene | 2 | <2.000 | <2.000 | 11.9266
21 | Methyl bromide | 5 | <5.000 | <5.000 | <25.000
22 | Methyl chloride | 5 | <5.000 | <5.000 | <25.000
23 | Methylene chloride | 5 | <5.000 | <5.000 | <25.000
24 | 1,1,2,2-Tetrachloroethane | 5 | <5.000 | <5.000 | <25.000
25 | Tetrachloroethylene | 5 | <5.000 | <5.000 | <25.000
26 | Toluene | 2 | <2.000 | <2.000 | 10.3575
27 | 1,2-trans-Dichloroethylene | 5 | <5.000 | <5.000 | <25.000
28 | 1,1,1-Trichloroethane | 5 | <5.000 | <5.000 | <25.000
29 | 1,1,2-Trichloroethane | 5 | <5.000 | <5.000 | <25.000
30 | Trichloroethylene | 5 | <5.000 | <5.000 | <25.000
31 | Trichlorofluoromethane | 5 | <5.000 | <5.000 | <25.000
32 | Vinyl chloride | 5 | <5.000 | <5.000 | <25.000
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | <10.000 | <10.000 | <200.000
2 | 2,4-Dichlorophenol | 5 | <5.000 | <5.000 | <100.000
3 | 2,4-Dimethylphenol | 10 | <10.000 | <10.000 | <200.000
4 | 4,6-Dinitro-o-cresol | 25 | <25.000 | <25.000 | <500.000
5 | 2,4-Dinitrophenol | 40 | <40.000 | <40.000 | <800.000
6 | 2-Nitrophenol | 10 | <10.000 | <10.000 | <200.000
7 | 4-Nitrophenol | 20 | <20.000 | <20.000 | <400.000
8 | p-Chloro-m-cresol | 5 | <5.000 | <5.000 | <100.000
9 | Pentachlorophenol | 30 | <30.000 | <30.000 | <600.000
10 | Phenol | 5 | <5.000 | <5.000 | <100.000
11 | 2,4,6-Trichlorophenol | 10 | <10.000 | <10.000 | <200.000
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | <5.000 | <5.000 | <100.000
2 | Acenaphthylene | 5 | <5.000 | <5.000 | <100.000
3 | Anthracene | 5 | <5.000 | <5.000 | <100.000
4 | Benzidine | 25 | <25.000 | <25.000* | <500.000
5 | Benzo(a)anthracene | 10 | <10.000 | <10.000 | <100.000
6 | Benzo(a)pyrene | 10 | <10.000 | <10.000 | <200.000
7 | 3,4-Benzofluoranthene | 10 | <10.000 | <10.000 | <200.000
8 | Benzo(ghi)perylene | 10 | <10.000 | <10.000 | <200.000
9 | Benzo(k)fluoranthene | 5 | <5.000 | <5.000 | <100.000
10 | Bis(2-chloroethoxy)methane | 10 | <10.000 | <10.000 | <200.000
11 | Bis(2-chloroethyl)ether | 10 | <10.000 | <10.000 | <200.000
12 | Bis(2-chloro-iso-propyl)ether | 10 | <10.000 | <10.000 | <200.000
13 | Bis(2-ethylhexyl)phthalate | 20 | <20.000 | <20.000 | 720.6238
14 | 4-Bromophenyl phenyl ether | 5 | <5.000 | <5.000 | <100.000
15 | Butyl-benzyl phthalate | 10 | <10.000 | <10.000 | <200.000
16 | 2-Chloronaphthalene | 5 | <5.000 | <5.000 | <100.000
17 | 4-Chlorophenyl phenyl ether | 5 | <5.000 | <5.000 | <100.000
18 | Chrysene | 5 | <5.000 | <5.000 | <100.000
19 | Dibenzo(a,h)anthracene | 15 | <15.000 | <15.000 | <300.000
20 | 3,3'-Dichlorobenzidine | 15 | <15.000 | <15.000 | <300.000
21 | Diethyl phthalate | 10 | <10.000 | <10.000 | <200.000
22 | Dimethyl phthalate | 5 | <5.000 | <5.000 | <100.000
23 | Di-n-butyl phthalate | 5 | <5.000 | <5.000 | <100.000
24 | 2,4-Dinitrotoluene | 5 | <5.000 | <5.000 | <100.000
25 | 2,6-Dinitrotoluene | 5 | <5.000 | <5.000 | <100.000
26 | Di-n-octyl phthalate | 15 | <15.000 | <15.000 | <300.000
27 | 1,2-Diphenylhydrazine | 5 | <5.000 | <5.000 | <100.000
28 | Fluoranthene | 5 | <5.000 | <5.000 | <100.000
29 | Fluorene | 5 | <5.000 | <5.000 | <100.000
30 | Hexachlorobenzene | 5 | <5.000 | <5.000 | <100.000
31 | Hexachlorobutadiene | 5 | <5.000 | <5.000 | <100.000
32 | Hexachlorocyclopentadiene | 30 | <30.000 | <30.000 | <600.000
33 | Hexachloroethane | 10 | <10.000 | <10.000* | <200.000
34 | Indeno(1,2,3-cd)pyrene | 15 | <15.000 | <15.000 | <300.000
35 | Isophorone | 10 | <10.000 | <10.000 | <200.000
36 | Naphthalene | 5 | <5.000 | <5.000 | <100.000
37 | Nitrobenzene | 10 | <10.000 | <10.000 | <200.000
38 | N-Nitrosodimethylamine | 5 | <5.000 | <5.000 | <100.000
39 | N-Nitrosodi-n-propylamine | 10 | <10.000 | <10.000 | <200.000
40 | N-Nitrosodiphenylamine | 5 | <5.000 | <5.000 | <100.000
41 | Phenanthrene | 5 | <5.000 | <5.000 | <100.000
42 | Pyrene | 5 | <5.000 | <5.000 | <100.000
43 | 1,2,4-Trichlorobenzene | 5 | <5.000 | <5.000 | <100.000
PESTICIDES & PCBs
1 | Aldrin | 0.05 | <0.05 | <0.05 | <2.500
2 | a-BHC-alpha | 0.05 | <0.05 | <0.05 | <2.500
3 | b-BHC-beta | 0.07 | <0.07 | <0.07 | <3.500
4 | BHC-gamma | 0.05 | <0.05 | <0.05 | <2.500
5 | BHC-delta | 0.17 | <0.17 | <0.17 | <8.500
6 | Chlordane | 0.5 | <0.50 | <0.50 | <25.000
7 | 4,4'-DDT | 0.05 | <0.05 | <0.05 | <2.500
8 | 4,4'-DDE | 0.13 | <0.13 | <0.13 | <6.500
9 | 4,4'-DDD | 0.05 | <0.05 | <0.05 | <2.500
10 | Dieldrin | 0.05 | <0.05 | <0.05 | <2.500
11 | a-Endosulfan-alpha | 0.05 | <0.05 | <0.05 | <2.500
12 | b-Endosulfan-beta | 0.05 | <0.05 | <0.05 | <2.500
13 | Endosulfan sulfate | 0.05 | <0.05 | <0.05 | <2.500
14 | Endrin | 0.05 | <0.05 | <0.05 | <2.500
15 | Endrin aldehyde | 0.05 | <0.05 | <0.05 | <2.500
16 | Heptachlor | 0.07 | <0.07 | <0.07 | <3.500
17 | Heptachlor epoxide | 0.05 | <0.05 | <0.05 | <2.500
18 | PCB-1242 | 0.8 | <0.8 | <0.8 | <40.000
19 | PCB-1254 | 0.8 | <0.8 | <0.8 | <40.000
20 | PCB-1221 | 0.8 | <0.8 | <0.8 | <40.000
21 | PCB-1232 | 0.8 | <0.8 | <0.8 | <40.000
22 | PCB-1248 | 0.8 | <0.8 | <0.8 | <40.000
23 | PCB-1260 | 1.16 | <1.16 | <1.16 | <58.000
24 | PCB-1016 | 0.8 | <0.8 | <0.8 | <40.000
| (Total PCB) | 0.8 | <0.8 | <0.8 | <40.000
25 | Toxaphene | 1 | <1.00 | <1.00 | <50.000
# Reporting limits are 5 times higher than listed for purgeables, 20 times higher for acids and base/neutrals
and 50 times highter for pesticides and PCBs.
* | Sample MS/MSD recovery failed, but LCS passed.
** | Sample MSD recovery failed but LCS passed.
*** | Sample RPD failed, but LCS passed
**** | Sample MSD and RPD failed, but LCS passed

## Egan 2025
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN JOHN E. EGAN WRP SAMPLES (µg/L, ppb)
DATE SAMPLED:March 11, 2025
|  | Reporting |  |  | Digester
|  | Limit |  | Raw | Draw
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #,
Solids% 2.18%, µg/kg, wet weight
|  |  | 25-146 | 25-147 | 25-148
|  |  | 9770535-1 | 9770536-1 | 9770537-1
PURGEABLES
1 | Acrolein | 50 | <50.0 | <50.0 | <250.
2 | Acrylonitrile | 10 | <10.0 | <10.0 | <50.0
3 | Benzene | 2 | <2.00 | <2.00 | <10.0
4 | Bromoform | 5 | <5.00 | <5.00 | <25.0
5 | Carbon tetrachloride | 5 | <5.00 | <5.00 | <25.0
6 | Chlorobenzene | 5 | <5.00 | <5.00 | <25.0
7 | Chlorodibromomethane | 2 | <2.00 | <2.00 | <10.0
8 | Chloroethane | 5 | <5.00 | <5.00 | <25.0
9 | 2-Chloroethylvinyl ether | 5 | <5.00 | <5.00 | <25.0
10 | Chloroform | 2 | <2.00 | <2.00 | <10.0
11 | 1,2-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
12 | 1,3-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
13 | 1,4-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
14 | Dichlorobromomethane | 2 | <2.00 | <2.00 | <10.0
15 | 1,1-Dichloroethane | 5 | <5.00 | <5.00 | <25.0
16 | 1,2-Dichloroethane | 5 | <5.00 | <5.00 | <25.0
17 | 1,1-Dichloroethylene | 5 | <5.00 | <5.00 | <25.0
18 | 1,2-Dichloropropane | 5 | <5.00 | <5.00 | <25.0
19 | 1,3-Dichloropropene | 5 | <5.00 | <5.00 | <25.0
20 | Ethyl benzene | 2 | <2.00 | <2.00 | <10.0
21 | Methyl bromide | 5 | <5.00 | <5.00 | <25.0
22 | Methyl chloride | 5 | <5.00 | <5.00 | <25.0
23 | Methylene chloride | 5 | <5.00 | <5.00 | <25.0
24 | 1,1,2,2-Tetrachloroethane | 5 | <5.00 | <5.00 | <25.0
25 | Tetrachloroethylene | 5 | <5.00 | <5.00 | <25.0
26 | Toluene | 2 | <2.00 | <2.00 | 28.8213
27 | 1,2-trans-Dichloroethylene | 5 | <5.00 | <5.00 | <25.0
28 | 1,1,1-Trichloroethane | 5 | <5.00 | <5.00 | <25.0
29 | 1,1,2-Trichloroethane | 5 | <5.00 | <5.00 | <25.0
30 | Trichloroethylene | 5 | <5.00 | <5.00 | <25.0
31 | Trichlorofluoromethane | 5 | <5.00 | <5.00 | <25.0
32 | Vinyl chloride | 5 | <5.00 | <5.00 | <25.0
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | <10.0 | <10.0 | <200.
2 | 2,4-Dichlorophenol | 5 | <5.00 | <5.00 | <100.
3 | 2,4-Dimethylphenol | 10 | <10.0 | <10.0 | <200.
4 | 4,6-Dinitro-o-cresol | 25 | <25.0 | <25.0 | <500.
5 | 2,4-Dinitrophenol | 40 | <40.0 | <40.0 | <800.
6 | 2-Nitrophenol | 10 | <10.0 | <10.0 | <200.
7 | 4-Nitrophenol | 20 | <20.0 | <20.0 | <400.
8 | p-Chloro-m-cresol | 5 | <5.00 | <5.00 | <100.
9 | Pentachlorophenol | 30 | <30.0 | <30.0 | <600.
10 | Phenol | 5 | <5.00 | <5.00 | <100.
11 | 2,4,6-Trichlorophenol | 10 | <10.0 | <10.0 | <200.
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | <5.00 | <5.00 | <100.
2 | Acenaphthylene | 5 | <5.00 | <5.00 | <100.
3 | Anthracene | 5 | <5.00 | <5.00 | <100.
4 | Benzidine | 25 | <25.0 | <25.0 | <500.
5 | Benzo(a)anthracene | 10 | <10.0 | <10.0 | <100.**
6 | Benzo(a)pyrene | 10 | <10.0 | <10.0 | <200.**
7 | 3,4-Benzofluoranthene | 10 | <10.0 | <10.0 | <200.**
8 | Benzo(ghi)perylene | 10 | <10.0 | <10.0 | <200.**
9 | Benzo(k)fluoranthene | 5 | <5.00 | <5.00 | <100.**
10 | Bis(2-chloroethoxy)methane | 10 | <10.0 | <10.0 | <200.
11 | Bis(2-chloroethyl)ether | 10 | <10.0 | <10.0 | <200.
12 | Bis(2-chloro-iso-propyl)ether | 10 | <10.0 | <10.0 | <200.*
13 | Bis(2-ethylhexyl)phthalate | 18 | <18.0 | <18.0 | 386**
14 | 4-Bromophenyl phenyl ether | 5 | <5.00 | <5.00 | <100.
15 | Butyl-benzyl phthalate | 10 | <10.0 | <10.0 | <200.**
16 | 2-Chloronaphthalene | 5 | <5.00 | <5.00 | <100.*
17 | 4-Chlorophenyl phenyl ether | 5 | <5.00 | <5.00 | <100.
18 | Chrysene | 5 | <5.00 | <5.00 | <100.**
19 | Dibenzo(a,h)anthracene | 15 | <15.0 | <15.0 | <300.**
20 | 3,3'-Dichlorobenzidine | 15 | <15.0 | <15.0 | <300.
21 | Diethyl phthalate | 10 | <10.0 | <10.0 | <200.
22 | Dimethyl phthalate | 5 | <5.00 | <5.00 | <100.
23 | Di-n-butyl phthalate | 10 | <10.0 | <10.0 | <200.
24 | 2,4-Dinitrotoluene | 10 | <10.0 | <10.0 | <200.
25 | 2,6-Dinitrotoluene | 5 | <5.00 | <5.00 | <100.
26 | Di-n-octyl phthalate | 15 | <15.0 | <15.0 | <300.**
27 | 1,2-Diphenylhydrazine | 5 | <5.00 | <5.00 | <100.
28 | Fluoranthene | 5 | <5.00 | <5.00 | <100.
29 | Fluorene | 5 | <5.00 | <5.00 | <100.*
30 | Hexachlorobenzene | 5 | <5.00 | <5.00 | <100.
31 | Hexachlorobutadiene | 5 | <5.00 | <5.00 | <100.*
32 | Hexachlorocyclopentadiene | 25 | <25.0 | <25.0 | <500.*
33 | Hexachloroethane | 10 | <10.0 | <10.0 | <200.*
34 | Indeno(1,2,3-cd)pyrene | 15 | <15.0 | <15.0 | <300.**
35 | Isophorone | 10 | <10.0 | <10.0 | <200.
36 | Naphthalene | 5 | <5.00 | <5.00 | <100.
37 | Nitrobenzene | 10 | <10.0 | <10.0 | <200.
38 | N-Nitrosodimethylamine | 5 | <5.00 | <5.00 | <100.
39 | N-Nitrosodi-n-propylamine | 10 | <10.0 | <10.0 | <200.
40 | N-Nitrosodiphenylamine | 5 | <5.00 | <5.00 | <100.
41 | Phenanthrene | 5 | <5.00 | <5.00 | <100.
42 | Pyrene | 5 | <5.00 | <5.00 | <100.*
43 | 1,2,4-Trichlorobenzene | 5 | <5.00 | <5.00 | <100.*
PESTICIDES & PCBs
1 | Aldrin | 0.05 | <0.0500 | <0.0500 | <2.50
2 | a-BHC-alpha | 0.05 | <0.0500 | <0.0500 | <2.50
3 | b-BHC-beta | 0.07 | <0.0700 | <0.0700 | <3.50
4 | BHC-gamma | 0.05 | <0.0500 | <0.0500 | <2.50
5 | BHC-delta | 0.05 | <0.0500 | <0.0500 | <2.50
6 | Chlordane | 0.5 | <0.500 | <0.500 | <25.0
7 | 4,4'-DDT | 0.05 | <0.0500 | <0.0500 | <2.50
8 | 4,4'-DDE | 0.13 | <0.130 | <0.130 | <6.50
9 | 4,4'-DDD | 0.05 | <0.0500 | <0.0500 | <2.50
10 | Dieldrin | 0.05 | <0.0500 | <0.0500 | <2.50
11 | a-Endosulfan-alpha | 0.05 | <0.0500 | <0.0500 | <2.50
12 | b-Endosulfan-beta | 0.05 | <0.0500 | <0.0500 | <2.50
13 | Endosulfan sulfate | 0.05 | <0.0500 | <0.0500 | <2.50
14 | Endrin | 0.05 | <0.0500 | <0.0500 | <2.50
15 | Endrin aldehyde | 0.05 | <0.0500 | <0.0500 | <2.50
16 | Heptachlor | 0.07 | <0.0700 | <0.0700 | <3.50
17 | Heptachlor epoxide | 0.05 | <0.0500 | <0.0500 | <2.50
18 | PCB-1242 | 0.8 | <0.800 | <0.800 | <40.0
19 | PCB-1254 | 0.8 | <0.800 | <0.800 | <40.0
20 | PCB-1221 | 0.8 | <0.800 | <0.800 | <40.0
21 | PCB-1232 | 0.8 | <0.800 | <0.800 | <40.0
22 | PCB-1248 | 0.8 | <0.800 | <0.800 | <40.0
23 | PCB-1260 | 1.16 | <1.16 | <1.16 | <58.0
24 | PCB-1016 | 0.8 | <0.800 | <0.800 | <40.0
| (Total PCB) | 0.8 | <0.800 | <0.800 | <40.0
25 | Toxaphene | 1 | <1.00 | <1.00 | <50.0
# Reporting limits are 5 times higher than listed for purgeables, 20 times higher for acids and base/neutrals
and 50 times highter for pesticides and PCBs.
* | Sample MS/MSD recovery failed, but LCS passed.
** | Due to matrix effects, internal standard failed criteria

## Egan 2026
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN JOHN E. EGAN WRP SAMPLES (µg/L, ppb)
DATE SAMPLED: 1/20/2026
|  | Reporting |  |  | Digester
|  | Limit |  | Raw | Draw
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge
Solids% 2.13% µg/kg wet weight #
|  |  | 26-020 | 26-021 | 26-022
|  |  | 9960479 | 9960480 | 9960481
PURGEABLES
1 | Acrolein | 50 | <50.0 | <50.0 | <250
2 | Acrylonitrile | 10 | <10.0 | <10.0 | <50.0
3 | Benzene | 2 | <2.00 | <2.00 | <10.0
4 | Bromoform | 5 | <5.00 | <5.00 | <25.0
5 | Carbon tetrachloride | 5 | <5.00 | <5.00 | <25.0
6 | Chlorobenzene | 5 | <5.00 | <5.00 | <25.0
7 | Chlorodibromomethane | 2 | <2.00 | <2.00 | <10.0
8 | Chloroethane | 5 | <5.00 | <5.00 | <25.0
9 | 2-Chloroethylvinyl ether | 5 | <5.00 | <5.00 | <25.0
10 | Chloroform | 2 | <2.00 | <2.00 | <10.0
11 | 1,2-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
12 | 1,3-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
13 | 1,4-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
14 | Dichlorobromomethane | 2 | <2.00 | <2.00 | <10.0
15 | 1,1-Dichloroethane | 5 | <5.00 | <5.00 | <25.0
16 | 1,2-Dichloroethane | 5 | <5.00 | <5.00 | <25.0
17 | 1,1-Dichloroethylene | 5 | <5.00 | <5.00 | <25.0
18 | 1,2-Dichloropropane | 5 | <5.00 | <5.00 | <25.0
19 | 1,3-Dichloropropene | 5 | <5.00 | <5.00 | <25.0
20 | Ethyl benzene | 2 | <2.00 | <2.00 | <10.0
21 | Methyl bromide | 5 | <5.00 | <5.00 | <25.0
22 | Methyl chloride | 5 | <5.00 | <5.00 | <25.0
23 | Methylene chloride | 5 | <5.00 | <5.00 | <25.0
24 | 1,1,2,2-Tetrachloroethane | 5 | <5.00 | <5.00 | <25.0
25 | Tetrachloroethylene | 5 | <5.00 | <5.00 | <25.0
26 | Toluene | 2 | <2.00 | 2.68 | <10.0
27 | 1,2-trans-Dichloroethylene | 5 | <5.00 | <5.00 | <25.0
28 | 1,1,1-Trichloroethane | 5 | <5.00 | <5.00 | <25.0
29 | 1,1,2-Trichloroethane | 5 | <5.00 | <5.00 | <25.0
30 | Trichloroethylene | 5 | <5.00 | <5.00 | <25.0
31 | Trichlorofluoromethane | 5 | <5.00 | <5.00 | <25.0
32 | Vinyl chloride | 5 | <5.00 | <5.00 | <25.0
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | <10.0 | <10.0 | <200
2 | 2,4-Dichlorophenol | 5 | <5.00 | <5.00 | <100
3 | 2,4-Dimethylphenol | 10 | <10.0 | <10.0 | <200
4 | 4,6-Dinitro-o-cresol | 25 | <25.0 | <25.0 | <500
5 | 2,4-Dinitrophenol | 40 | <40.0 | <40.0 | <800
6 | 2-Nitrophenol | 10 | <10.0 | <10.0 | <200
7 | 4-Nitrophenol | 20 | <20.0 | <20.0 | <400
8 | p-Chloro-m-cresol | 5 | <5.00 | <5.00 | <100
9 | Pentachlorophenol | 30 | <30.0 | <30.0 | <600
10 | Phenol | 5 | <5.00 | 7.28 | <100
11 | 2,4,6-Trichlorophenol | 10 | <10.0 | <10.0 | <200
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | <5.00 | <5.00 | <100
2 | Acenaphthylene | 5 | <5.00 | <5.00 | <100
3 | Anthracene | 5 | <5.00 | <5.00 | <100
4 | Benzidine | 25 | <25.0 | <25.0 | <500
5 | Benzo(a)anthracene | 5 | <5.00 | <5.00 | <100
6 | Benzo(a)pyrene | 10 | <10.0 | <10.0 | <200
7 | 3,4-Benzofluoranthene | 10 | <10.0 | <10.0 | <200
8 | Benzo(ghi)perylene | 10 | <10.0 | <10.0 | <200
9 | Benzo(k)fluoranthene | 10 | <10.0 | <10.0 | <200
10 | Bis(2-chloroethoxy)methane | 10 | <10.0 | <10.0 | <200
11 | Bis(2-chloroethyl)ether | 10 | <10.0 | <10.0 | <200
12 | Bis(2-chloro-iso-propyl)ether | 10 | <10.0 | <10.0 | <200
13 | Bis(2-ethylhexyl)phthalate | 12 | <12.0 | 14 | 643
14 | 4-Bromophenyl phenyl ether | 5 | <5.00 | <5.00 | <100
15 | Butyl-benzyl phthalate | 10 | <10.0 | <10.0 | <200
16 | 2-Chloronaphthalene | 5 | <5.00 | <5.00 | <100
17 | 4-Chlorophenyl phenyl ether | 5 | <5.00 | <5.00 | <100
18 | Chrysene | 5 | <5.00 | <5.00 | <100
19 | Dibenzo(a,h)anthracene | 15 | <15.0 | <15.0 | <300
20 | 3,3'-Dichlorobenzidine | 15 | <15.0 | <15.0 | <300
21 | Diethyl phthalate | 10 | <10.0 | <10.0 | <200
22 | Dimethyl phthalate | 10 | <10.0 | <10.0 | <200
23 | Di-n-butyl phthalate | 12 | <12.0 | <12.0 | <240
24 | 2,4-Dinitrotoluene | 10 | <10.0 | <10.0 | <200
25 | 2,6-Dinitrotoluene | 5 | <5.00 | <5.00 | <100
26 | Di-n-octyl phthalate | 10 | <10.0 | <10.0 | <200*
27 | 1,2-Diphenylhydrazine | 5 | <5.00 | <5.00 | <100
28 | Fluoranthene | 5 | <5.00 | <5.00 | <100
29 | Fluorene | 5 | <5.00 | <5.00 | <100
30 | Hexachlorobenzene | 5 | <5.00 | <5.00 | <100
31 | Hexachlorobutadiene | 6 | <6.00 | <6.00 | <120
32 | Hexachlorocyclopentadiene | 25 | <25.0 | <25.0 | <500*
33 | Hexachloroethane | 10 | <10.0 | <10.0 | <200*
34 | Indeno(1,2,3-cd)pyrene | 15 | <15.0 | <15.0 | <300
35 | Isophorone | 10 | <10.0 | <10.0 | <200
36 | Naphthalene | 5 | <5.00 | <5.00 | <100
37 | Nitrobenzene | 10 | <10.0 | <10.0 | <200
38 | N-Nitrosodimethylamine | 5 | <5.00 | <5.00 | <100
39 | N-Nitrosodi-n-propylamine | 10 | <10.0 | <10.0 | <200
40 | N-Nitrosodiphenylamine | 6 | <6.00 | <6.00 | <120
41 | Phenanthrene | 5 | <5.00 | <5.00 | <100
42 | Pyrene | 5 | <5.00 | <5.00 | <100
43 | 1,2,4-Trichlorobenzene | 5 | <5.00 | <5.00 | <100
PESTICIDES & PCBs
1 | Aldrin | 0.05 | <0.0500 | <0.0500 | <2.50
2 | a-BHC-alpha | 0.05 | <0.0500 | <0.0500 | <2.50
3 | b-BHC-beta | 0.07 | <0.0700 | <0.0700 | <3.50
4 | BHC-gamma | 0.05 | <0.0500 | <0.0500 | <2.50
5 | BHC-delta | 0.05 | <0.0500 | <0.0500 | <2.50
6 | Chlordane | 0.5 | <0.500 | <0.500 | <25.0
7 | 4,4'-DDT | 0.05 | <0.0500 | <0.0500 | <2.50
8 | 4,4'-DDE | 0.1 | <0.100 | <0.100 | <5.00
9 | 4,4'-DDD | 0.05 | <0.0500 | <0.0500 | <2.50
10 | Dieldrin | 0.15 | <0.150 | <0.150 | <7.50
11 | a-Endosulfan-alpha | 0.05 | <0.0500 | <0.0500 | <2.50
12 | b-Endosulfan-beta | 0.05 | <0.0500 | <0.0500 | <2.50
13 | Endosulfan sulfate | 0.05 | <0.0500 | <0.0500 | <2.50
14 | Endrin | 0.05 | <0.0500 | <0.0500 | <2.50
15 | Endrin aldehyde | 0.05 | <0.0500 | <0.0500 | <2.50
16 | Heptachlor | 0.07 | <0.0700 | <0.0700 | <3.50
17 | Heptachlor epoxide | 0.05 | <0.0500 | <0.0500 | <2.50
18 | PCB-1242 | 0.8 | <0.800 | <0.800 | <40.0
19 | PCB-1254 | 0.8 | <0.800 | <0.800 | <40.0
20 | PCB-1221 | 0.8 | <0.800 | <0.800 | <40.0
21 | PCB-1232 | 0.8 | <0.800 | <0.800 | <40.0
22 | PCB-1248 | 0.8 | <0.800 | <0.800 | <40.0
23 | PCB-1260 | 1.16 | <1.16 | <1.16 | <58.0
24 | PCB-1016 | 0.8 | <0.800 | <0.800 | <40.0
| (Total PCB) | 0.8 | <0.800 | <0.800 | <40.0
25 | Toxaphene | 1 | <1.00 | <1.00 | <50.0
# Reporting limits are 5 times higher than listed for purgeables, 20 times higher for base/neutrals/acids, and 50 times highter for pesticides/PCBs.
* | Sample MS/MSD recovery failed, but LCS passed.