## Calumet 2023
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN CALUMET WRP SAMPLES (µg/L, ppb)
LAB ID: 23-075, 23-076 & 23-077 LIMS ID: 9295424-1, 9295426-1, 9295519-1
DATE SAMPLED: February 14, 2023
|  | Reporting |  |  | Digester
|  | Limit |  | Raw | Draw
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #,*
|  |  | 9295424-1 | 9295426-1 | 9295519-1
PURGEABLES
1 | Acrolein | 50 | --*** | -- | --***
2 | Acrylonitrile | 10 | -- | -- | --
3 | Benzene | 2 | -- | -- | --
4 | Bromoform | 5 | -- | -- | --
5 | Carbon tetrachloride | 5 | -- | -- | --
6 | Chlorobenzene | 5 | -- | -- | --
7 | Chlorodibromomethane | 2 | -- | -- | --
8 | Chloroethane | 5 | -- | -- | --
9 | 2-Chloroethylvinyl ether | 5 | -- | -- | --
10 | Chloroform | 2 | -- | -- | --
11 | 1,2-Dichlorobenzene | 5 | -- | -- | --
12 | 1,3-Dichlorobenzene | 5 | -- | -- | --
13 | 1,4-Dichlorobenzene | 5 | -- | -- | --
14 | Dichlorobromomethane | 2 | -- | -- | --
15 | 1,1-Dichloroethane | 5 | -- | -- | --
16 | 1,2-Dichloroethane | 5 | -- | -- | --
17 | 1,1-Dichloroethylene | 5 | -- | -- | --
18 | 1,2-Dichloropropane | 5 | -- | -- | --
19 | 1,3-Dichloropropene | 5 | -- | -- | --
20 | Ethyl benzene | 2 | -- | -- | --
21 | Methyl bromide | 5 | -- | -- | --
22 | Methyl chloride | 5 | -- | -- | --
23 | Methylene chloride | 5 | -- | -- | --
24 | 1,1,2,2-Tetrachloroethane | 5 | -- | -- | --
25 | Tetrachloroethylene | 5 | -- | -- | --
26 | Toluene | 2 | -- | 9.73 | 59.7
27 | 1,2-trans-Dichloroethylene | 5 | -- | -- | --
28 | 1,1,1-Trichloroethane | 5 | -- | -- | --
29 | 1,1,2-Trichloroethane | 5 | -- | -- | --
30 | Trichloroethylene | 5 | -- | -- | --
31 | Trichlorofluoromethane | 5 | -- | -- | --
32 | Vinyl chloride | 5 | -- | -- | --
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | -- | -- | --
2 | 2,4-Dichlorophenol | 5 | -- | -- | --
3 | 2,4-Dimethylphenol | 10 | -- | -- | --
4 | 4,6-Dinitro-o-cresol | 25 | -- | -- | --
5 | 2,4-Dinitrophenol | 40 | -- | -- | --
6 | 2-Nitrophenol | 10 | -- | -- | --
7 | 4-Nitrophenol | 20 | -- | -- | --
8 | p-Chloro-m-cresol | 5 | -- | -- | --
9 | Pentachlorophenol | 30 | -- | -- | --
10 | Phenol | 5 | -- | -- | --
11 | 2,4,6-Trichlorophenol | 10 | -- | -- | --
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | -- | -- | --
2 | Acenaphthylene | 5 | -- | -- | --
3 | Anthracene | 5 | -- | -- | --
4 | Benzidine | 25 | -- | -- | --
5 | Benzo(a)anthracene | 5 | -- | -- | --
6 | Benzo(a)pyrene | 5 | -- | -- | --
7 | 3,4-Benzofluoranthene | 5 | -- | -- | --
8 | Benzo(ghi)perylene | 5 | -- | -- | --
9 | Benzo(k)fluoranthene | 5 | -- | -- | --
10 | Bis(2-chloroethoxy)methane | 10 | -- | -- | --
11 | Bis(2-chloroethyl)ether | 10 | -- | -- | --
12 | Bis(2-chloro-iso-propyl)ether | 10 | -- | -- | --
13 | Bis(2-ethylhexyl)phthalate | 15 | -- | -- | 784
14 | 4-Bromophenyl phenyl ether | 5 | -- | -- | --
15 | Butyl-benzyl phthalate | 10 | -- | -- | --
16 | 2-Chloronaphthalene | 5 | -- | -- | --
17 | 4-Chlorophenyl phenyl ether | 5 | -- | -- | --
18 | Chrysene | 5 | -- | -- | --
19 | Dibenzo(a,h)anthracene | 5 | -- | -- | --
20 | 3,3'-Dichlorobenzidine | 15 | -- | -- | --
21 | Diethyl phthalate | 10 | -- | -- | --
22 | Dimethyl phthalate | 5 | -- | -- | --
23 | Di-n-butyl phthalate | 5 | -- | -- | --
24 | 2,4-Dinitrotoluene | 5 | -- | -- | --
25 | 2,6-Dinitrotoluene | 5 | -- | -- | --
26 | Di-n-octyl phthalate | 10 | -- | -- | --
27 | 1,2-Diphenylhydrazine | 5 | -- | -- | --
28 | Fluoranthene | 5 | -- | -- | --
29 | Fluorene | 5 | -- | -- | --
30 | Hexachlorobenzene | 5 | -- | -- | --
31 | Hexachlorobutadiene | 5 | -- | -- | --
32 | Hexachlorocyclopentadiene | 30 | -- | -- | --++
33 | Hexachloroethane | 10 | --** | --** | --**,+
34 | Indeno(1,2,3-cd)pyrene | 5 | -- | -- | --
35 | Isophorone | 10 | -- | -- | --
36 | Naphthalene | 5 | -- | -- | --
37 | Nitrobenzene | 10 | -- | -- | --
38 | N-Nitrosodimethylamine | 5 | -- | -- | --***
39 | N-Nitrosodi-n-propylamine | 10 | -- | -- | --
40 | N-Nitrosodiphenylamine | 5 | -- | -- | --
41 | Phenanthrene | 5 | -- | -- | --
42 | Pyrene | 5 | -- | -- | --
43 | 1,2,4-Trichlorobenzene | 5 | -- | -- | --
PESTICIDES & PCBs
1 | Aldrin | 0.05 | -- | -- | --
2 | a-BHC-alpha | 0.05 | -- | -- | --
3 | b-BHC-beta | 0.07 | -- | -- | --
4 | BHC-gamma | 0.05 | -- | -- | --
5 | BHC-delta | 0.05 | -- | -- | --
6 | Chlordane | 0.5 | -- | -- | --
7 | 4,4'-DDT | 0.05 | -- | -- | --
8 | 4,4'-DDE | 0.05 | -- | -- | --
9 | 4,4'-DDD | 0.05 | -- | -- | --
10 | Dieldrin | 0.05 | -- | -- | --
11 | a-Endosulfan-alpha | 0.05 | -- | -- | --
12 | b-Endosulfan-beta | 0.05 | -- | -- | --
13 | Endosulfan sulfate | 0.05 | -- | -- | --
14 | Endrin | 0.05 | -- | -- | --
15 | Endrin aldehyde | 0.05 | -- | -- | --
16 | Heptachlor | 0.07 | -- | -- | --
17 | Heptachlor epoxide | 0.05 | -- | -- | --
18 | PCB-1242 | 0.8 | -- | -- | --
19 | PCB-1254 | 0.8 | -- | -- | --
20 | PCB-1221 | 0.8 | -- | -- | --
21 | PCB-1232 | 0.8 | -- | -- | --
22 | PCB-1248 | 0.8 | -- | -- | --
23 | PCB-1260 | 0.8 | -- | -- | --
24 | PCB-1016 | 0.8 | -- | -- | --
| (Total PCB) | 0.8 | -- | -- | --
25 | Toxaphene | 1 | -- | -- | --
# Reporting limits are 5 times higher than listed for purgeables, 20 times higher for acids and base/neutrals
and 50 times highter for pesticides and PCBs.
* | The percent solids for sludge is 1.66 %. The unit for sludge is µg/kg, wet weight.
-- | Not found, below reporting limit.
** The LCS recovery failed low bias.
*** Spike recovery of MS/MSD failed criteria but LCS passed.
+ Spike recovery of MS/MSD failed criteria.
++ | The relative percent difference between MS and MSD failed criteria.

## Calumet 2024
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN CALUMET WRP SAMPLES (µg/L, ppb)
LAB ID: 24-112, 24-111 & 24-110 LIMS ID: 9550018-1, 9550019-1, 9550026-1
DATE SAMPLED: March 12, 2024
|  | Reporting |  |  | Digester
|  | Limit |  | Raw | Draw
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #,
Solids% 2.45%, µg/kg, wet weight
|  |  | 9550018-1 | 9550019 | 9550026-1
PURGEABLES
1 | Acrolein | 50 | <50.000 | <50.000 | <250.00****
2 | Acrylonitrile | 10 | <10.000 | <10.000 | <50.000
3 | Benzene | 2 | <2.000 | <2.000 | <10.000
4 | Bromoform | 5 | <5.000 | <5.000 | <25.000
5 | Carbon tetrachloride | 5 | <5.000 | <5.000 | <25.000
6 | Chlorobenzene | 5 | <5.000 | <5.000 | <25.000
7 | Chlorodibromomethane | 2 | <2.000 | <2.000 | <10.000
8 | Chloroethane | 5 | <5.000 | <5.000 | <25.000
9 | 2-Chloroethylvinyl ether | 5 | <5.000 | <5.000 | <25.000
10 | Chloroform | 2 | <2.000 | <2.000 | <10.000
11 | 1,2-Dichlorobenzene | 5 | <5.000 | <5.000 | <25.000
12 | 1,3-Dichlorobenzene | 5 | <5.000 | <5.000 | <25.000
13 | 1,4-Dichlorobenzene | 5 | <5.000 | <5.000 | <25.000
14 | Dichlorobromomethane | 2 | <2.000 | <2.000 | <10.000
15 | 1,1-Dichloroethane | 5 | <5.000 | <5.000 | <25.000
16 | 1,2-Dichloroethane | 5 | <5.000 | <5.000 | <25.000
17 | 1,1-Dichloroethylene | 5 | <5.000 | <5.000 | <25.000
18 | 1,2-Dichloropropane | 5 | <5.000 | <5.000 | <25.000
19 | 1,3-Dichloropropene | 5 | <5.000 | <5.000 | <25.000
20 | Ethyl benzene | 2 | <2.000 | 3.2275 | <10.000
21 | Methyl bromide | 5 | <5.000 | <5.000 | <25.000
22 | Methyl chloride | 5 | <5.000 | <5.000 | <25.000
23 | Methylene chloride | 5 | <5.000 | <5.000 | <25.000
24 | 1,1,2,2-Tetrachloroethane | 5 | <5.000 | <5.000 | <25.000
25 | Tetrachloroethylene | 5 | <5.000 | <5.000 | <25.000
26 | Toluene | 2 | <2.000 | 29.319 | 35.8931
27 | 1,2-trans-Dichloroethylene | 5 | <5.000 | <5.000 | <25.000
28 | 1,1,1-Trichloroethane | 5 | <5.000 | <5.000 | <25.000
29 | 1,1,2-Trichloroethane | 5 | <5.000 | <5.000 | <25.000
30 | Trichloroethylene | 5 | <5.000 | <5.000 | <25.000
31 | Trichlorofluoromethane | 5 | <5.000 | <5.000 | <25.000
32 | Vinyl chloride | 5 | <5.000 | <5.000 | <25.000
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | <10.000 | <10.000 | <200.000***
2 | 2,4-Dichlorophenol | 5 | <5.000 | <5.000 | <100.000
3 | 2,4-Dimethylphenol | 10 | <10.000 | <10.000 | <200.000
4 | 4,6-Dinitro-o-cresol | 25 | <25.000 | <25.000 | <500.000
5 | 2,4-Dinitrophenol | 40 | <40.000 | <40.000 | <800.000
6 | 2-Nitrophenol | 10 | <10.000 | <10.000 | <200.000
7 | 4-Nitrophenol | 20 | <20.000 | <20.000 | <400.000
8 | p-Chloro-m-cresol | 5 | <5.000 | <5.000 | <100.000
9 | Pentachlorophenol | 30 | <30.000 | <30.000 | <600.000
10 | Phenol | 5 | <5.000 | <5.000 | <100.000
11 | 2,4,6-Trichlorophenol | 10 | <10.000 | <10.000 | <200.000
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | <5.000 | <5.000 | <100.000
2 | Acenaphthylene | 5 | <5.000 | <5.000 | <100.000
3 | Anthracene | 5 | <5.000 | <5.000 | <100.000
4 | Benzidine | 25 | <25.000 | <25.000 | <500.000*
5 | Benzo(a)anthracene | 10 | <10.000 | <10.000 | <100.000
6 | Benzo(a)pyrene | 10 | <10.000 | <10.000 | <200.000
7 | 3,4-Benzofluoranthene | 10 | <10.000 | <10.000 | <200.000
8 | Benzo(ghi)perylene | 10 | <10.000 | <10.000 | <200.000
9 | Benzo(k)fluoranthene | 5 | <5.000 | <5.000 | <100.000
10 | Bis(2-chloroethoxy)methane | 10 | <10.000 | <10.000 | <200.000
11 | Bis(2-chloroethyl)ether | 10 | <10.000 | <10.000 | <200.000
12 | Bis(2-chloro-iso-propyl)ether | 10 | <10.000 | <10.000 | <200.000**
13 | Bis(2-ethylhexyl)phthalate | 20 | <20.000 | <20.000 | 899.5711
14 | 4-Bromophenyl phenyl ether | 5 | <5.000 | <5.000 | <100.000
15 | Butyl-benzyl phthalate | 10 | <10.000 | <10.000 | <200.000
16 | 2-Chloronaphthalene | 5 | <5.000 | <5.000 | <100.000
17 | 4-Chlorophenyl phenyl ether | 5 | <5.000 | <5.000 | <100.000
18 | Chrysene | 5 | <5.000 | <5.000 | <100.000
19 | Dibenzo(a,h)anthracene | 15 | <15.000 | <15.000 | <300.000
20 | 3,3'-Dichlorobenzidine | 15 | <15.000 | <15.000 | <300.000
21 | Diethyl phthalate | 10 | <10.000 | <10.000 | <200.000
22 | Dimethyl phthalate | 5 | <5.000 | <5.000 | <100.000
23 | Di-n-butyl phthalate | 5 | <5.000 | <5.000 | <100.000
24 | 2,4-Dinitrotoluene | 5 | <5.000 | <5.000 | <100.000
25 | 2,6-Dinitrotoluene | 5 | <5.000 | <5.000 | <100.000
26 | Di-n-octyl phthalate | 15 | <15.000 | <15.000 | <300.000
27 | 1,2-Diphenylhydrazine | 5 | <5.000 | <5.000 | <100.000
28 | Fluoranthene | 5 | <5.000 | <5.000 | <100.000
29 | Fluorene | 5 | <5.000 | <5.000 | <100.000
30 | Hexachlorobenzene | 5 | <5.000 | <5.000 | <100.000
31 | Hexachlorobutadiene | 5 | <5.000 | <5.000 | <100.000
32 | Hexachlorocyclopentadiene | 30 | <30.000 | <30.000 | <600.000
33 | Hexachloroethane | 10 | <10.000 | <10.000 | <200.000
34 | Indeno(1,2,3-cd)pyrene | 15 | <15.000 | <15.000 | <300.000
35 | Isophorone | 10 | <10.000 | <10.000 | <200.000
36 | Naphthalene | 5 | <5.000 | <5.000 | <100.000
37 | Nitrobenzene | 10 | <10.000 | <10.000 | <200.000
38 | N-Nitrosodimethylamine | 5 | <5.000 | <5.000 | <100.000
39 | N-Nitrosodi-n-propylamine | 10 | <10.000 | <10.000 | <200.000
40 | N-Nitrosodiphenylamine | 5 | <5.000 | <5.000 | <100.000
41 | Phenanthrene | 5 | <5.000 | <5.000 | <100.000
42 | Pyrene | 5 | <5.000 | <5.000 | <100.000
43 | 1,2,4-Trichlorobenzene | 5 | <5.000 | <5.000 | <100.000
PESTICIDES & PCBs
1 | Aldrin | 0.05 | <0.05 | <0.05 | <2.500
2 | a-BHC-alpha | 0.05 | <0.05 | <0.05 | <2.500
3 | b-BHC-beta | 0.07 | <0.07 | <0.07 | <3.500
4 | BHC-gamma | 0.05 | <0.05 | <0.05 | <2.500
5 | BHC-delta | 0.17 | <0.17 | <0.17 | <8.500
6 | Chlordane | 0.5 | <0.5 | <0.5 | <25.000
7 | 4,4'-DDT | 0.05 | <0.05 | <0.05 | <2.500
8 | 4,4'-DDE | 0.13 | <0.13 | <0.13 | <6.500
9 | 4,4'-DDD | 0.05 | <0.05 | <0.05 | <2.500
10 | Dieldrin | 0.05 | <0.05 | <0.05 | <2.500
11 | a-Endosulfan-alpha | 0.05 | <0.05 | <0.05 | <2.500
12 | b-Endosulfan-beta | 0.05 | <0.05 | <0.05 | <2.500
13 | Endosulfan sulfate | 0.05 | <0.05 | <0.05 | <2.500
14 | Endrin | 0.05 | <0.05 | <0.05 | <2.500
15 | Endrin aldehyde | 0.05 | <0.05 | <0.05 | <2.500
16 | Heptachlor | 0.07 | <0.07 | <0.07 | <3.500
17 | Heptachlor epoxide | 0.05 | <0.05*** | <0.05 | <2.500
18 | PCB-1242 | 0.8 | <0.8 | <0.8 | <40.000
19 | PCB-1254 | 0.8 | <0.8 | <0.8 | <40.000
20 | PCB-1221 | 0.8 | <0.8 | <0.8 | <40.000
21 | PCB-1232 | 0.8 | <0.8 | <0.8 | <40.000
22 | PCB-1248 | 0.8 | <0.8 | <0.8 | <40.000
23 | PCB-1260 | 1.16 | <1.16 | <1.16 | <58.000
24 | PCB-1016 | 0.8 | <0.8 | <0.8 | <40.000
| (Total PCB) | 0.8 | <0.8 | <0.8 | <40.000
25 | Toxaphene | 1 | <1.00 | <1.00 | <50.000
# Reporting limits are 5 times higher than listed for purgeables, 20 times higher for acids and base/neutrals
and 50 times highter for pesticides and PCBs.
* | Sample MS/MSD recovery failed, but LCS passed.
** | Sample MSD recovery failed but LCS passed.
*** | Sample RPD failed, but LCS passed
**** | Sample MSD and RPD failed, but LCS passed

## Calumet 2025
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN CALUMET WRP SAMPLES (µg/L, ppb)
DATE SAMPLED: March 11, 2025
|  | Reporting |  |  | Digester
|  | Limit |  | Raw | Draw
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #
Solids% 2.86%, µg/kg, wet weight
|  |  | 25-152 | 25-153 | 25-154
|  |  | 9769814-1 | 9769817-1 | 9769819-1
PURGEABLES
1 | Acrolein | 50 | <50.0 | <50.0 | <250.
2 | Acrylonitrile | 10 | <10.0 | <10.0 | <50.0
3 | Benzene | 2 | <2.00 | <2.00 | <10.0
4 | Bromoform | 5 | <5.00 | <5.00 | <25.0
5 | Carbon tetrachloride | 5 | <5.00 | <5.00 | <25.0
6 | Chlorobenzene | 5 | <5.00 | <5.00 | <25.0
7 | Chlorodibromomethane | 2 | <2.00 | <2.00 | <10.0
8 | Chloroethane | 5 | <5.00 | <5.00 | <25.0
9 | 2-Chloroethylvinyl ether | 5 | <5.00 | <5.00 | <25.0
10 | Chloroform | 2 | <2.00 | <2.00 | <10.0
11 | 1,2-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
12 | 1,3-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
13 | 1,4-Dichlorobenzene | 5 | <5.00 | <5.00 | <25.0
14 | Dichlorobromomethane | 2 | <2.00 | <2.00 | <10.0
15 | 1,1-Dichloroethane | 5 | <5.00 | <5.00 | <25.0
16 | 1,2-Dichloroethane | 5 | <5.00 | <5.00 | <25.0
17 | 1,1-Dichloroethylene | 5 | <5.00 | <5.00 | <25.0
18 | 1,2-Dichloropropane | 5 | <5.00 | <5.00 | <25.0
19 | 1,3-Dichloropropene | 5 | <5.00 | <5.00 | <25.0
20 | Ethyl benzene | 2 | <2.00 | <2.00 | 3.6398
21 | Methyl bromide | 5 | <5.00 | <5.00 | <25.0
22 | Methyl chloride | 5 | <5.00 | <5.00 | <25.0
23 | Methylene chloride | 5 | <5.00 | <5.00 | <25.0
24 | 1,1,2,2-Tetrachloroethane | 5 | <5.00 | <5.00 | <25.0
25 | Tetrachloroethylene | 5 | <5.00 | <5.00 | <25.0
26 | Toluene | 2 | <2.00 | 8.5405 | 9.0623
27 | 1,2-trans-Dichloroethylene | 5 | <5.00 | <5.00 | <25.0
28 | 1,1,1-Trichloroethane | 5 | <5.00 | <5.00 | <25.0
29 | 1,1,2-Trichloroethane | 5 | <5.00 | <5.00 | <25.0
30 | Trichloroethylene | 5 | <5.00 | <5.00 | <25.0
31 | Trichlorofluoromethane | 5 | <5.00 | <5.00 | <25.0
32 | Vinyl chloride | 5 | <5.00 | <5.00 | <25.0
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | <10.0 | <10.0 | <200.
2 | 2,4-Dichlorophenol | 5 | <5.00 | <5.00 | <100.
3 | 2,4-Dimethylphenol | 10 | <10.0 | <10.0 | <200.
4 | 4,6-Dinitro-o-cresol | 25 | <25.0 | <25.0 | <500.
5 | 2,4-Dinitrophenol | 40 | <40.0 | <40.0 | <800.
6 | 2-Nitrophenol | 10 | <10.0 | <10.0 | <200.
7 | 4-Nitrophenol | 20 | <20.0 | <20.0 | <400.
8 | p-Chloro-m-cresol | 5 | <5.00 | <5.00 | <100.
9 | Pentachlorophenol | 30 | <30.0 | <30.0 | <600.
10 | Phenol | 5 | <5.00 | <5.00 | <100.
11 | 2,4,6-Trichlorophenol | 10 | <10.0 | <10.0 | <200.
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | <5.00 | <5.00 | <100.
2 | Acenaphthylene | 5 | <5.00 | <5.00 | <100.
3 | Anthracene | 5 | <5.00 | <5.00 | <100.
4 | Benzidine | 25 | <25.0 | <25.0 | 1510
5 | Benzo(a)anthracene | 10 | <10.0 | <10.0 | <100.**
6 | Benzo(a)pyrene | 10 | <10.0 | <10.0 | <200.**
7 | 3,4-Benzofluoranthene | 10 | <10.0 | <10.0 | <200.**
8 | Benzo(ghi)perylene | 10 | <10.0 | <10.0 | <200.**
9 | Benzo(k)fluoranthene | 5 | <5.00 | <5.00 | <100.**
10 | Bis(2-chloroethoxy)methane | 10 | <10.0 | <10.0 | <200.
11 | Bis(2-chloroethyl)ether | 10 | <10.0 | <10.0 | <200.
12 | Bis(2-chloro-iso-propyl)ether | 10 | <10.0 | <10.0 | <200.
13 | Bis(2-ethylhexyl)phthalate | 18 | <18.0 | <18.0 | 1120**
14 | 4-Bromophenyl phenyl ether | 5 | <5.00 | <5.00 | <100.
15 | Butyl-benzyl phthalate | 10 | <10.0 | <10.0 | <200.**
16 | 2-Chloronaphthalene | 5 | <5.00 | <5.00 | <100.
17 | 4-Chlorophenyl phenyl ether | 5 | <5.00 | <5.00 | <100.
18 | Chrysene | 5 | <5.00 | <5.00 | <100.**
19 | Dibenzo(a,h)anthracene | 15 | <15.0 | <15.0 | <300.**
20 | 3,3'-Dichlorobenzidine | 15 | <15.0 | <15.0 | <300.
21 | Diethyl phthalate | 10 | <10.0 | <10.0 | <200.
22 | Dimethyl phthalate | 5 | <5.00 | <5.00 | <100.
23 | Di-n-butyl phthalate | 10 | <10.0 | <10.0 | <200.
24 | 2,4-Dinitrotoluene | 10 | <10.0 | <10.0 | <200.
25 | 2,6-Dinitrotoluene | 5 | <5.00 | <5.00 | <100.
26 | Di-n-octyl phthalate | 15 | <15.0 | <15.0 | <300.**
27 | 1,2-Diphenylhydrazine | 5 | <5.00 | <5.00 | <100.
28 | Fluoranthene | 5 | <5.00 | <5.00 | <100.
29 | Fluorene | 5 | <5.00 | <5.00 | <100.
30 | Hexachlorobenzene | 5 | <5.00 | <5.00 | <100.
31 | Hexachlorobutadiene | 5 | <5.00 | <5.00 | <100.
32 | Hexachlorocyclopentadiene | 25 | <25.0 | <25.0 | <500.
33 | Hexachloroethane | 10 | <10.0 | <10.0 | <200.
34 | Indeno(1,2,3-cd)pyrene | 15 | <15.0 | <15.0 | <300.**
35 | Isophorone | 10 | <10.0 | <10.0 | <200.
36 | Naphthalene | 5 | <5.00 | <5.00 | <100.
37 | Nitrobenzene | 10 | <10.0 | <10.0 | <200.
38 | N-Nitrosodimethylamine | 5 | <5.00 | <5.00 | <100.
39 | N-Nitrosodi-n-propylamine | 10 | <10.0 | <10.0 | <200.
40 | N-Nitrosodiphenylamine | 5 | <5.00 | <5.00 | <100.
41 | Phenanthrene | 5 | <5.00 | <5.00 | <100.
42 | Pyrene | 5 | <5.00 | <5.00 | <100.
43 | 1,2,4-Trichlorobenzene | 5 | <5.00 | <5.00 | <100.
PESTICIDES & PCBs
1 | Aldrin | 0.05 | <0.0500 | <0.0500 | <2.50
2 | a-BHC-alpha | 0.05 | <0.0500 | <0.0500 | <2.50
3 | b-BHC-beta | 0.07 | <0.0700 | <0.0700 | <3.50*
4 | BHC-gamma | 0.05 | <0.0500 | <0.0500 | <2.50
5 | BHC-delta | 0.05 | <0.0500 | <0.0500 | <2.50
6 | Chlordane | 0.5 | <0.500 | <0.500 | <25.0
7 | 4,4'-DDT | 0.05 | <0.0500 | <0.0500 | <2.50
8 | 4,4'-DDE | 0.13 | <0.130 | <0.130 | <6.50
9 | 4,4'-DDD | 0.05 | <0.0500 | <0.0500 | <2.50
10 | Dieldrin | 0.05 | <0.0500 | <0.0500 | <2.50
11 | a-Endosulfan-alpha | 0.05 | <0.0500 | <0.0500 | <2.50
12 | b-Endosulfan-beta | 0.05 | <0.0500 | <0.0500 | <2.50
13 | Endosulfan sulfate | 0.05 | <0.0500 | <0.0500 | <2.50
14 | Endrin | 0.05 | <0.0500 | <0.0500 | <2.50
15 | Endrin aldehyde | 0.05 | <0.0500 | <0.0500 | <2.50*
16 | Heptachlor | 0.07 | <0.0700 | <0.0700 | <3.50
17 | Heptachlor epoxide | 0.05 | <0.0500 | <0.0500 | <2.50
18 | PCB-1242 | 0.8 | <0.800 | <0.800 | <40.0
19 | PCB-1254 | 0.8 | <0.800 | <0.800 | <40.0
20 | PCB-1221 | 0.8 | <0.800 | <0.800 | <40.0
21 | PCB-1232 | 0.8 | <0.800 | <0.800 | <40.0
22 | PCB-1248 | 0.8 | <0.800 | <0.800 | <40.0
23 | PCB-1260 | 1.16 | <1.16 | <1.16 | <58.0
24 | PCB-1016 | 0.8 | <0.800 | <0.800 | <40.0
| (Total PCB) | 0.8 | <0.800 | <0.800 | <40.0
25 | Toxaphene | 1 | <1.00 | <1.00 | <50.0
# Reporting limits are 5 times higher than listed for purgeables, 20 times higher for acids and base/neutrals
and 50 times highter for pesticides and PCBs.
* | Sample MS/MSD recovery failed, but LCS passed.
** | Confirmed matrix effects on Internal Standard failure after maintenance.